## DELIVERY CHELAN

To

**Zenith Energy Pvt Ltd**

**Gachibowli**

**Hyderabad**

D.C No: PRT: 44/ 2021-22

Date: - 24 -06 -2021

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| SL NO | DESCRIPTION | | **QTY** |  |
| 1  2  3 | Main Gate Way  AX2 Module  1.Temperature Sensors (R.B.Y.G)10 Mt. 12 Nos  2.6mm Pu-Pipe 18 Mt  3.Plastic Adopters 06 Nos  4.Flexible Pipe 15 Mt  Energy Meter 2340  1.Ct-Coils 50/5 03 Nos  2.6 Core Cable 6 Mt  3.4 Core Cable 6 Mt  4.1 Pair Cable 15 Mt | | 01 No  03 Nos  01 No |  |
|  |
|  | | For **Protech (Progressive Technologies)**  **Authorized Signatory** | | |
| **RECEIVERS SIGNATURE** | |

TOTAL NUMBER OF PACKAGES: 02 BOXES