## DELIVERY CHELAN

**To**

**Zenith Energy Pvt Ltd**

**Gachibowli**

**Hyderabad**

D.C No: PRT: 28/ 2020-21

Date: - 19 -10-2020

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| SL NO | DESCRIPTION | | **QTY** |  |
| 1  2  3  4  5  6 | Main Gate Way With Gsm Antenna  Energy Meter 1320 With Enclosure  100 /5 Clamp On Ct Coils  250 /5 Clamp On Ct Coils  250/s Clamp On Ct Coils  500/5 Clamp On Ct Oils  50/5 Ct Coils  50/5 Ct Coils  50/5 Ct Coils  50/5 Ct Coils  50/5 Ct Coils  4 Core Cable  6 Core Cable  1 Pair Communication Cable  Flexible Pipe | | 01 No  09 Nos  03 Nos  03 Nos  03 Nos  03 Nos  03 Nos  03 Nos  03 Nos  03 Nos  03 Nos  50 Mt  50 Mt  150 Mt  25 Mt |  |
|  |
|  | | For **Protech (Progressive Technologies)**  **Authorized Signatory** | | |
| **RECEIVERS SIGNATURE** | |

**TOTAL NUMBER OF PACKAGES: 3 BOXES**