## Analysis
Site Name | Meter Type | Location Name | Dates | Unit Status | Remarks | unit | Remarks
IN-TG-HYD-SR1-TW01-Himayatnagar | HVAC | Wear House | 05-07-2021 to till Date | OFF | MCB is OFF | House Hold | Low Cooling Efficency Need to Check Gas Leakage
IN-TG-HYD-SR1-TW01-Himayatnagar | HVAC | Technology | 01-07-2021 to till date | OFF | MCB is OFF | Nuon | Low Cooling Efficency Need to Check Gas Leakage
IN-TG-HYD-SR1-TW01-Himayatnagar | HVAC | Staff Room | 05,13,21,22,23 | OFF | From 24 onwards DT > 8, Cooling Efficency is good, DP is low improper Filter Fitting | Cash Till | Low Cooling Efficency Need to Check Gas Leakage
IN-TG-HYD-SR1-TW01-Himayatnagar | HVAC | Sassy Soda |  |  | OK
IN-TG-HYD-SR1-TW01-Himayatnagar | HVAC | Nuon Trail Room | 5,6,7,8,9,10,12,16,18,19,20,21,22,23 | OFF | from Date 05-12 The compressor is turned off because the average return air temperature is 24 degrees Celsius.From date 16 to 24 total unit MCB is OFF condition
IN-TG-HYD-SR1-TW01-Himayatnagar | HVAC | Nuon | 16,21,23 | OFF | Remaining Days OK
IN-TG-HYD-SR1-TW01-Himayatnagar | HVAC | Mens Trail Room | 1,2,3,4,5,15,16,17,18 | OFF | Remaining Days OK
IN-TG-HYD-SR1-TW01-Himayatnagar | HVAC | LOV |  |  | OK
IN-TG-HYD-SR1-TW01-Himayatnagar | HVAC | Lift Front |  |  | OK
IN-TG-HYD-SR1-TW01-Himayatnagar | HVAC | Ladies FootWear | 01-07-2021 to till date | OFF | MCB is OFF
IN-TG-HYD-SR1-TW01-Himayatnagar | HVAC | Knowledge Room | 04,21,23 | OFF | MCB is OFF and Remaining days OK
IN-TG-HYD-SR1-TW01-Himayatnagar | HVAC | I/W Indian Wear | 1,2,3,4,5,6,7,8,9,16,17 | OFF | MCB is OFF and Remaining days OK
IN-TG-HYD-SR1-TW01-Himayatnagar | HVAC | Diza Trail Room | 9 | OFF | MCB is OFF
IN-TG-HYD-SR1-TW01-Himayatnagar | HVAC | Cash Till | 11,19,20,21,23 | OFF
IN-TG-HYD-SR1-TW01-Himayatnagar | HVAC | Cash Office |  |  | OK
IN-TG-HYD-SR1-TW01-Himayatnagar | HVAC | Ascot | 19,20,21,22,23,24,25 | OFF | MCB is OFF
IN-TG-HYD-SR1-TW01-Himayatnagar | HVAC | House Hold | 6,8,22 | OFF