## Mc Donalds
Cell Id | Station Id | Station Name | Site Name | Station Location | Electricity Monitoring | [10 empty] | Diesel Generator System | LPG Gas Lines System | Temperature Monitoring |  | Indoor Air Quality |  | AHU System |  | Cold Storage Monitor | Load Meter | Water Flow | Munter | Munter AC control
[5 empty] | EB_KW_Main (KW) | HVAC_Main (KW) | Kitchen_Equip_Main(KWH) | Cold Room | Chiller | Freezer | Pump | Compressor | Lobby | Muffin Machine | DG Main | Diesel Generator | LPG | kitchen | Lobby | kitchen | Lobby | Kitchen | Lobby | Cold Room | Kitchen | Water Flow | Running_Hrs | Running_Hrs | Remarks
290 | 7997993044 | IN-GA-PAJ-WR1-0290-Calangute | Calangute | Goa_Panjim | ok | ok | ok | [7 empty] | ok | ok | Not Available | Not Available | ok | [7 empty] | ok | Not Available
348 | 2019000047 | IN-GA-PAJ-WR1-0348-Miramar Goa | Miramar Goa | Goa_Panjim | Not Available | ok | ok | [7 empty] | Not Available | Not Available | ok | Not Showing | Not Showing | [7 empty] | Not Available | Not Available
26 | 2017000017 | IN-GJ-AHM-WR2-0026-Maninagar | ManinaGoar | Gujarat_Ahmedabad | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Available | ok | Not Available | [7 empty] | ok | Not Available
38 | 2017000026 | IN-GJ-AHM-WR2-0038-TNW Vadodara | TamilNaduW Vadodara | Gujarat_Ahmedabad | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Available | ok | ok | [7 empty] | ok | Not Available
74 | 2018000037 | IN-GJ-AHM-WR2-0074-ValentineMall Surat | ValentineMall Surat | Gujarat_Ahmedabad
84 | 9666095106 | IN-GJ-AHM-WR2-0084-Empress City Center | Empress City Center | Gujarat_Ahmedabad | ok | ok | ok | [7 empty] | Not Available | Not Showing | Not Showing | ok | ok | [7 empty] | ok | Not Available
108 | 2017000010 | IN-GJ-AHM-WR2-0108-Pegasus Prahalad Nagar | PeGoasus Prahalad NaGoar | Gujarat_Ahmedabad | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Available | ok | ok | [7 empty] | Not Showing | Not Available
156 | 9676126688 | IN-GJ-AHM-WR2-0156-Kododara Surat | Kododara Surat | Gujarat_Ahmedabad | ok | ok | ok | [7 empty] | ok | ok | ok | ok | ok | [7 empty] | ok | Not Available
162 | 2017000014 | IN-GJ-AHM-WR2-0162-CG Road Panchvati | CG Road Panchvati | Gujarat_Ahmedabad | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Available | ok | Not Available | [7 empty] | ok | Not Available
168 | 8498059360 | IN-GJ-AHM-WR2-0168-Millionaire Surat | Millionaire Surat | Gujarat_Ahmedabad | ok | ok | ok | [7 empty] | ok | Not Available | Not Available | ok | ok | [7 empty] | ok | Not Available
176 | 2017000011 | IN-GJ-AHM-WR2-0176-Science City | Science City | Gujarat_Ahmedabad | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Available | ok | ok | [7 empty] | Not Showing | Not Available
188 | 2017000013 | IN-GJ-AHM-WR2-0188-Chand Kheda | Chand Kheda | Gujarat_Ahmedabad | ok | ok | ok | [7 empty] | Not Available | Not Showing | Not Available | Not Showing | Not Showing | [7 empty] | Not Showing | Not Available
192 | 9666098041 | IN-GJ-AHM-WR2-0192-SamaSavali Vadodara | SamaSavali Vadodara | Gujarat_Ahmedabad | ok | ok | ok | [7 empty] | ok | Not Showing | Not Showing | Not Showing | Not Showing | [7 empty] | ok | Not Available
199 | 7658940002 | IN-GJ-AHM-WR2-0199-Kalawad Road Rajkot | Karnatakalawad Road Rajkot | Gujarat_Ahmedabad | Not Available | Not Available | Not Available | [7 empty] | Not Available | ok | Not Available | ok | ok | [7 empty] | Not Showing | Not Available
203 | 9666095260 | IN-GJ-AHM-WR2-0203-Gunjan Vapi | Gunjan Vapi | Gujarat_Ahmedabad | ok | ok | ok | [7 empty] | ok | ok | Not Showing | ok | ok | [7 empty] | ok | Not Available
207 | 2017000015 | IN-GJ-AHM-WR2-0207-Mehsana | Mehsana | Gujarat_Ahmedabad | ok | ok | ok | [7 empty] | ok | ok | Not Available | ok | ok | [7 empty] | ok | Not Available
219 | 2017000009 | IN-GJ-AHM-WR2-0219-Wide Angle | Wide Angle | Gujarat_Ahmedabad | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Available | Not Showing | Not Showing | [7 empty] | Not Showing | Not Available
223 | 2017000025 | IN-GJ-AHM-WR2-0223-Nadiad | Nadiad | Gujarat_Ahmedabad | Not Showing | Not Showing | Not Showing | [7 empty] | Not Showing | Not Available | Not Available | Not Showing | Not Showing | [7 empty] | Not Showing | Not Available
243 | 7729986542 | IN-GJ-AHM-WR2-0243-Baruch | Baruch | Gujarat_Ahmedabad | ok | ok | ok | [7 empty] | ok | Not Available | Not Showing | ok | ok | [7 empty] | ok | Not Available
260 | 9951953492 | IN-GJ-AHM-WR2-0260-Mark House | Mark House | Gujarat_Ahmedabad | ok | ok | ok | [7 empty] | Not Available | Not Showing | Not Showing | ok | ok | [7 empty] | ok | Not Available
261 | 9951953598 | IN-GJ-AHM-WR2-0261-Kamaraj Surat | Karnatakamaraj Surat | Gujarat_Ahmedabad | ok | ok | ok | [7 empty] | ok | Not Showing | Not Available | ok | ok | [7 empty] | ok | Not Available
269 | 9676102713 | IN-GJ-AHM-WR2-0269-NikolPavilionMall | NikolPavilionMall | Gujarat_Ahmedabad | Not Showing | Not Showing | Not Showing | [7 empty] | Not Showing | Not Available | Not Showing | Not Showing | Not Showing | [7 empty] | Not Showing | Not Available
276 | 9133382102 | IN-GJ-AHM-WR2-0276-Eva Mall | Eva Mall | Gujarat_Ahmedabad | ok | ok | ok | [7 empty] | Not Available | Not Showing | Not Showing | ok | ok | [7 empty] | Not Available | Not Available
278 | 9133382109 | IN-GJ-AHM-WR2-0278-Deepak Mall Surat | Deepak Mall Surat | Gujarat_Ahmedabad | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Available | ok | ok | [7 empty] | ok | Not Available
288 | 2017000002 | IN-GJ-AHM-WR2-0288-Bapod L&T | Bapod L&T | Gujarat_Ahmedabad | ok | ok | ok | [7 empty] | Not Available | Not Available | ok | ok | ok | [7 empty] | ok | Not Available
303 | 2018000020 | IN-GJ-AHM-WR2-0303-Yash Pinnacle | Yash Pinnacle | Gujarat_Ahmedabad | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Available | ok | ok | [7 empty] | ok | Not Available
311 | 2017000068 | IN-GJ-AHM-WR2-0311-VIP Road Surat | VIP Road Surat | Gujarat_Ahmedabad | ok | ok | ok | [7 empty] | Not Available | Not Available | ok | ok | ok | [7 empty] | ok | Not Available
312 | 2017000064 | IN-GJ-AHM-WR2-0312-K10-Atlantis Vadodara | K10 | Gujarat_Ahmedabad | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Available | ok | ok | ok | ok | [5 empty] | ok | Not Available
313 | 2017000065 | IN-GJ-AHM-WR2-0313-Indoor T12 | Indoor T12 | Gujarat_Ahmedabad | [24 empty] | Store Removed
317 | 2018000110 | IN-GJ-AHM-WR2-0317-Bhopal DT | Bhopal DT | Gujarat_Ahmedabad | ok | ok | ok | [7 empty] | Not Available | Not Available | ok | ok | ok | [7 empty] | ok | Not Available
318 | 2018000026 | IN-GJ-AHM-WR2-0318-Anand Nagar | Anand NaGoar | Gujarat_Ahmedabad | ok | ok | ok | [7 empty] | ok | Not Showing | Not Available | ok | ok | [7 empty] | ok | Not Available
329 | 2018000090 | IN-GJ-AHM-WR2-0329-Rishab Circle Surat | Rishab Circle Surat | Gujarat_Ahmedabad | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Available | ok | ok | [7 empty] | ok | Not Available
337 | 2018000108 | IN-GJ-AHM-WR2-0337-RelianceMall Surat | RelianceMall Surat | Gujarat_Ahmedabad | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Available | ok | ok | [7 empty] | Not Available | Not Available
349 | 2019000046 | IN-GJ-AHM-WR2-0349-Gandhi Nagar | Goandhi NaGoar | Gujarat_Ahmedabad | ok | ok | ok | [7 empty] | Not Available | Not Available | ok | Not Available | ok | [7 empty] | ok | Not Available
352 | 2019000095 | IN-GJ-AHM-WR2-0352-Bhayali Nilamber Trium | Bhayali Nilamber Trium | Gujarat_Ahmedabad | Not Showing | Not Showing | Not Showing | [7 empty] | Not Showing | Not Available | Not Showing | Not Showing | Not Showing | [7 empty] | Not Available | Not Available
360 | 2019000128 | IN-GJ-AHM-WR2-0360-NMR Mall Rajkot | NMR Mall Rajkot | Gujarat_Ahmedabad | ok | ok | ok | [7 empty] | Not Available | Not Available | ok | ok | ok | [7 empty] | Not Available | Not Available
368 | 2019000112 | IN-GJ-AHM-WR2-0368-Shivalik Ahmedabad | Shivalik Ahmedabad | Gujarat_Ahmedabad | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Available | Not Available | ok | [7 empty] | ok | Not Available
39 | 9666091356 | IN-KA-BGL-SR1-0039-Brigade | BriGoade | Karnataka_Bangalore | ok | ok | ok | [7 empty] | ok | ok | ok | ok | ok | [7 empty] | ok | Not Available
51 | 2019000042 | IN-KA-BGL-SR1-0051-RMZ Eco Space | RMZ Eco Space | Karnataka_Bangalore | ok | ok | ok | [7 empty] | ok | Not Showing | Not Available | ok | Not Available | [7 empty] | ok | Not Available
66 | 9666101791 | IN-KA-BGL-SR1-0066-Kasturba Road | Karnatakasturba Road | Karnataka_Bangalore | ok | ok | ok | [7 empty] | ok | ok | Not Showing | ok | ok | Not Showing | Not Showing | [5 empty] | ok | Not Available
67 | 2017000056 | IN-KA-BGL-SR1-0067-Channapatna | ChannapaTamilNadua | Karnataka_Bangalore | ok | ok | ok | [7 empty] | ok | ok | ok | ok | ok | ok | ok | [5 empty] | ok | Not Available
76 | 7729986532 | IN-KA-BGL-SR1-0076-Bull Temple | Bull Temple | Karnataka_Bangalore | ok | ok | ok | [7 empty] | ok | ok | ok | ok | Not Available | [7 empty] | Not Available | Not Available
81 | 7997993013 | IN-KA-BGL-SR1-0081-Kempfort | Kempfort | Karnataka_Bangalore | ok | ok | ok | [7 empty] | Not Available | Not Available | ok | ok | ok | [7 empty] | ok | Not Available
85 | 9666090861 | IN-KA-BGL-SR1-0085-BEL Road | BEL Road | Karnataka_Bangalore | ok | ok | ok | [7 empty] | ok | ok | ok | ok | ok | ok | ok | [5 empty] | ok | Not Available
88 | 7997993016 | IN-KA-BGL-SR1-0088-JP Central mall | JP Central mall | Karnataka_Bangalore | ok | ok | ok | [7 empty] | Not Available | Not Available | ok | ok | Not Available | [7 empty] | ok | Not Available
89 | 9133382100 | IN-KA-BGL-SR1-0089-Arch Mall | Arch Mall | Karnataka_Bangalore | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Showing | ok | ok | [7 empty] | ok | Not Available
92 | 9666098603 | IN-KA-BGL-SR1-0092-Peenya | Peenya | Karnataka_Bangalore | ok | ok | ok | [7 empty] | ok | ok | ok | Not Showing | Not Showing | [7 empty] | ok | Not Available
93 | 2018000003 | IN-KA-BGL-SR1-0093-ForumMall Whitefield | ForumMall Whitefield | Karnataka_Bangalore | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Showing | ok | Not Available | [7 empty] | Not Available | Not Available
94 | 9666098419 | IN-KA-BGL-SR1-0094-CMH2 | CMaharastra2 | Karnataka_Bangalore | ok | ok | ok | [7 empty] | ok | ok | ok | ok | Not Available | [7 empty] | ok | ok
96 | 7729986534 | IN-KA-BGL-SR1-0096-Commercial Street | Commercial Street | Karnataka_Bangalore | Not Available | ok | ok | [7 empty] | Not Available | ok | ok | ok | ok | [7 empty] | Not Available | Not Available
100 | 2017000058 | IN-KA-BGL-SR1-0100-Baseshwara Nagar | Baseshwara NaGoar | Karnataka_Bangalore | ok | ok | ok | [7 empty] | Not Available | Not Available | ok | ok | Not Available | Not Available | Not Available | [5 empty] | Not Available | Not Available
103 | 9133382081 | IN-KA-BGL-SR1-0103-HSR Layout | HSR Layout | Karnataka_Bangalore | ok | ok | ok | [7 empty] | ok | ok | ok | Not Showing | Not Showing | [7 empty] | Not Available | Not Available
104 | 7658937700 | IN-KA-BGL-SR1-0104-Jayanagar | JayanaGoar | Karnataka_Bangalore | ok | ok | ok | [7 empty] | ok | ok | ok | ok | Not Available | Not Available | Not Available | [5 empty] | Not Available | Not Available
106 | 2017000016 | IN-KA-BGL-SR1-0106-Esteem Mall | Esteem Mall | Karnataka_Bangalore | ok | ok | ok | [7 empty] | Not Available | Not Available | ok | ok | ok | ok | ok | [5 empty] | ok | Not Available
111 | 7997993014 | IN-KA-BGL-SR1-0111-Brookfeild | Brookfeild | Karnataka_Bangalore | ok | ok | ok | [7 empty] | Not Available | Not Available | ok | ok | ok | ok | ok | [5 empty] | ok | Not Available
114 | 2017000001 | IN-KA-BGL-SR1-0114-Shoolagiri | Shoolagiri | Karnataka_Bangalore | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Available | Not Available | Not Available | Not Available | Not Available | [5 empty] | Not Available | Not Available
117 | 2017000055 | IN-KA-BGL-SR1-0117-Minakshi Mall | Minakshi Mall | Karnataka_Bangalore | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Available | ok | ok | [7 empty] | Not Available | Not Available
123 | 2017000053 | IN-KA-BGL-SR1-0123-Central Mall | Central Mall | Karnataka_Bangalore | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Available | ok | Not Available | Not Available | Not Available | [5 empty] | Not Available | Not Available
124 | 9666090751 | IN-KA-BGL-SR1-0124-Banashankari | BanashanKarnatakari | Karnataka_Bangalore | ok | ok | ok | [7 empty] | ok | ok | ok | ok | Not Available | Not Available | Not Available | [5 empty] | Not Available | Not Available
139 | 9848350615 | IN-KA-BGL-SR1-0139-Kamanahalli | Karnatakamanahalli | Karnataka_Bangalore | ok | ok | ok | [7 empty] | ok | ok | ok | ok | ok | [7 empty] | Not Available | Not Available
140 | 7997993011 | IN-KA-BGL-SR1-0140-Signature Mall | Signature Mall | Karnataka_Bangalore | ok | ok | ok | [7 empty] | Not Available | Not Available | ok | ok | ok | ok | ok | [5 empty] | ok | Not Available
147 | 2017000052 | IN-KA-BGL-SR1-0147-Brigade OrionMall | BriGoade OrionMall | Karnataka_Bangalore | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Available | ok | ok | [7 empty] | Not Available | Not Available
148 | 2018000002 | IN-KA-BGL-SR1-0148-Inorbit Whitefield | Inorbit Whitefield | Karnataka_Bangalore | [24 empty] | Store Removed
155 | 2018000005 | IN-KA-BGL-SR1-0155-Vijaya Nagar | Vijaya NaGoar | Karnataka_Bangalore | ok | ok | ok | [7 empty] | ok | ok | ok | ok | ok | [7 empty] | Not Showing | Not Available
157 | 2017000051 | IN-KA-BGL-SR1-0157-Mantri Mall | Mantri Mall | Karnataka_Bangalore | ok | ok | ok | [7 empty] | Not Available | Not Available | ok | ok | ok | [7 empty] | Not Available | Not Available
166 | 9666101726 | IN-KA-BGL-SR1-0166-JLB Mysore | JLB Mysore | Karnataka_Bangalore | ok | ok | ok | [7 empty] | ok | Not Showing | Not Showing | ok | ok | ok | ok | [5 empty] | ok | Not Available
180 | 9133382082 | IN-KA-BGL-SR1-0180-Koramangala | KoramanGoala | Karnataka_Bangalore | ok | ok | ok | [7 empty] | ok | ok | ok | ok | Not Available | Not Available | Not Available | [5 empty] | Not Available | Not Available
184 | 9666098645 | IN-KA-BGL-SR1-0184-Downtown Park | Downtown Park | Karnataka_Bangalore | ok | ok | ok | [7 empty] | ok | Not Available | ok | ok | Not Available | Not Available | Not Available | [5 empty] | Not Available | Not Available
189 | 9666090857 | IN-KA-BGL-SR1-0189-BTM | BTM | Karnataka_Bangalore | ok | ok | ok | [7 empty] | ok | Not Showing | ok | ok | ok | ok | ok | [5 empty] | ok | Not Available
194 | 2017000047 | IN-KA-BGL-SR1-0194-Shobha Arcade RT Nagar | Shobha Arcade RT NaGoar | Karnataka_Bangalore | [24 empty] | Store Removed
204 | 2017000008 | IN-KA-BGL-SR1-0204-Sahakar Nagar | SahaKarnatakar NaGoar | Karnataka_Bangalore | ok | ok | ok | [7 empty] | Not Available | Not Available | ok | ok | ok | ok | ok | [5 empty] | ok | Not Available
209 | 2017000054 | IN-KA-BGL-SR1-0209-J.P. Nagar | J.P. NaGoar | Karnataka_Bangalore | ok | ok | ok | [7 empty] | ok | ok | ok | ok | ok | ok | ok | [5 empty] | ok | Not Available
224 | 2018000014 | IN-KA-BGL-SR1-0224-CityCenterMall Mangalore | CityCenterMall ManGoalore | Karnataka_Bangalore | ok | ok | ok | [7 empty] | Not Available | Not Available | ok | Not Showing | Not Showing | [7 empty] | Not Available | Not Available
225 | 2018000015 | IN-KA-BGL-SR1-0225-ForumFizaMall Mangalore | ForumFizaMall ManGoalore | Karnataka_Bangalore | ok | ok | ok | [7 empty] | Not Available | Not Available | ok | ok | ok | [7 empty] | Not Available | Not Available
233 | 7997993042 | IN-KA-BGL-SR1-0233-Hubbali | Hubbali | Karnataka_Bangalore | ok | ok | ok | [7 empty] | Not Available | ok | ok | ok | ok | [7 empty] | ok | Not Available
236 | 2017000050 | IN-KA-BGL-SR1-0236-Elememts Mall | Elememts Mall | Karnataka_Bangalore | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Available | ok | ok | [7 empty] | Not Available | Not Available
1900-08-28 | 2018000016 | IN-KA-BGL-SR1-0241-Mall Of Mysore | Mall Of Mysore | Karnataka_Bangalore | [24 empty] | Store Removed
245 | 9951952822 | IN-KA-BGL-SR1-0245-Orion Mall | Orion Mall | Karnataka_Bangalore | ok | ok | ok | [7 empty] | ok | Not Showing | Not Showing | Not Showing | Not Showing | [7 empty] | Not Available | Not Available
247 | 8886618893 | IN-KA-BGL-SR1-0247-HighwayStar Kolar | HighwayStar Kolar | Karnataka_Bangalore | ok | ok | ok | [7 empty] | ok | ok | ok | ok | Not Showing | [7 empty] | ok | Not Available
257 | 9951947657 | IN-KA-BGL-SR1-0257-Ascendas | Ascendas | Karnataka_Bangalore | ok | ok | ok | [7 empty] | ok | Not Available | ok | ok | ok | [7 empty] | Not Available | Not Available
282 | 2017000004 | IN-KA-BGL-SR1-0282-Whitefield VR Mall | Whitefield VR Mall | Karnataka_Bangalore | ok | ok | ok | [7 empty] | Not Available | Not Available | ok | ok | ok | [7 empty] | Not Available | Not Available
293 | 2017000070 | IN-KA-BGL-SR1-0293-Electronic City | Electronic City | Karnataka_Bangalore | ok | ok | ok | [7 empty] | ok | ok | ok | ok | ok | ok | ok | [5 empty] | ok | Not Available
301 | 2017000021 | IN-KA-BGL-SR1-0301-Vega City Mall | VeGoa City Mall | Karnataka_Bangalore | ok | ok | ok | [7 empty] | Not Available | Not Available | ok | ok | Not Available | Not Available | Not Available | [5 empty] | Not Available | Not Available
306 | 2017000066 | IN-KA-BGL-SR1-0306-Manipal | Manipal | Karnataka_Bangalore | ok | ok | ok | [7 empty] | Not Available | Not Available | ok | ok | ok | ok | ok | [5 empty] | ok | Not Available
308 | 2017000069 | IN-KA-BGL-SR1-0308-Forum Mysore | Forum Mysore | Karnataka_Bangalore | ok | ok | ok | [7 empty] | Not Available | Not Available | ok | ok | Not Available | Not Available | Not Available | [5 empty] | Not Available | Not Available
314 | 2018000052 | IN-KA-BGL-SR1-0314-Soul Space ArenaMall | Soul Space ArenaMall | Karnataka_Bangalore | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Available | ok | ok | [7 empty] | Not Available | Not Available
315 | 2018000023 | IN-KA-BGL-SR1-0315-Kadugodi | Karnatakadugodi | Karnataka_Bangalore | ok | ok | ok | [7 empty] | Not Available | ok | ok | ok | ok | ok | ok | [5 empty] | ok | Not Available
328 | 2018000097 | IN-KA-BGL-SR1-0328-Kukke Plaza | Kukke Plaza | Karnataka_Bangalore | ok | ok | ok | [7 empty] | Not Available | ok | ok | ok | ok | ok | ok | [5 empty] | ok | Not Available
339 | 2019000035 | IN-KA-BGL-SR1-0339-Jupiter Mall | Jupiter Mall | Karnataka_Bangalore | ok | ok | ok | [7 empty] | Not Available | Not Available | ok | ok | Not Available | Not Available | Not Available | [5 empty] | Not Available | Not Available
347 | 2019000050 | IN-KA-BGL-SR1-0347-Nagarbhavi | NaGoarbhavi | Karnataka_Bangalore | ok | ok | ok | [7 empty] | ok | ok | ok | ok | ok | ok | ok | [5 empty] | ok | Not Available
355 | 2019000094 | IN-KA-BGL-SR1-0355-Kadubesnahali Pestige Par | Karnatakadubesnahali Pestige Par | Karnataka_Bangalore | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Available | ok | Not Available | [7 empty] | ok | Not Available
372 | 2020000008 | IN-KA-BGL-SR1-0372-Manyata Tech Park | Manyata Tech Park | Karnataka_Bangalore | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Available | ok | Not Available | Not Available | Not Available | [5 empty] | Not Available | Not Available
BA95 | 7997993017 | IN-KA-BGL-SR1-BA95-Lido Mall | Lido Mall | Karnataka_Bangalore | Not Showing | Not Showing | Not Showing | [7 empty] | Not Showing | Not Showing | Not Showing | Not Showing | Not Showing | Not Showing | Not Showing | [5 empty] | Not Showing | Not Showing
K228 | 7997993041 | IN-KA-BGL-SR1-K228-KLEU Belagavi | KeralaEU BelaGoavi | Karnataka_Bangalore | Not Showing | Not Showing | Not Showing | [7 empty] | Not Showing | Not Showing | Not Showing | Not Showing | Not Showing | Not Showing | Not Showing | [5 empty] | Not Showing | Not Showing
167 | 2020000017 | IN-KL-KCI-SR1-0167-LULU Mall | LULU Mall | Kerala_Kochi | ok | Not Available | Not Available | [7 empty] | Not Available | Not Available | Not Available | ok | ok | [7 empty] | Not Available | Not Available
175 | 7729986537 | IN-KL-KCI-SR1-0175-M.G. Road | M.G. Road | Kerala_Kochi | ok | ok | ok | [7 empty] | ok | Not Showing | ok | ok | ok | [7 empty] | Not Available | Not Available
218 | 2018000092 | IN-KL-KCI-SR1-0218-Holiday Inn Kochin | Holiday Inn Kochin | Kerala_Kochi | ok | ok | ok | [7 empty] | ok | ok | ok | ok | ok | [7 empty] | Not Available | Not Available
258 | 9951953209 | IN-KL-KCI-SR1-0258-Sobha Trissur | Sobha Trissur | Kerala_Kochi | ok | ok | ok | [7 empty] | ok | Not Showing | Not Showing | Not Available | ok | [7 empty] | Not Available | Not Available
259 | 9951952971 | IN-KL-KCI-SR1-0259-Hilite Calicut | Hilite Calicut | Kerala_Kochi | ok | ok | ok | [7 empty] | ok | Not Showing | Not Showing | ok | ok | [7 empty] | Not Available | Not Available
280 | 9133382110 | IN-KL-KCI-SR1-0280-Kollam | Kollam | Kerala_Kochi | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Showing | ok | ok | [7 empty] | Not Available | Not Available
307 | 2018000004 | IN-KL-KCI-SR1-0307-GrandCentral Kakkanad | GrandCentral KarnatakakKarnatakanad | Kerala_Kochi | ok | ok | ok | [7 empty] | Not Available | Not Available | ok | ok | ok | [7 empty] | Not Available | Not Available
330 | 2018000101 | IN-KL-KCI-SR1-0330-Travancore | Travancore | Kerala_Kochi | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Available | ok | Not Available | Not Available | Not Available | [5 empty] | Not Available | Not Available
354 | 2019000107 | IN-KL-KCI-SR1-0354-Aluva Metro Station | Aluva Metro Station | Kerala_Kochi | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Available | ok | ok | [7 empty] | Not Available | Not Available
374 | 2020000001 | IN-KL-KCI-SR1-0374-ABAD Nucleus Mall | ABAD Nucleus Mall | Kerala_Kochi | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Available | ok | ok | [7 empty] | Not Available | Not Available
1 | 8886616137 | IN-MH-MUM-WR1-0001-Bandra | Bandra | Maharastra_Mumbai | ok | ok | ok | [7 empty] | ok | Not Available | Not Showing | Not Showing | Not Showing | [7 empty] | Not Available | Not Available
2 | 7997993024 | IN-MH-MUM-WR1-0002-Lokhandwala Complex | Lokhandwala Complex | Maharastra_Mumbai | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Available | ok | ok | ok | ok | [5 empty] | ok | Not Available
3 | 2018000073 | IN-MH-MUM-WR1-0003-Vashi Mansarovar | Vashi Mansarovar | Maharastra_Mumbai | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Available | ok | ok | ok | ok | [5 empty] | ok | Not Available
4 | 7997993023 | IN-MH-MUM-WR1-0004-Vile Parle-W | Vile Parle | Maharastra_Mumbai | ok | ok | ok |  | ok | ok |  |  |  |  | Not Available | Not Available | Not Showing | ok | ok |  |  | ok | ok | Not Showing |  |  | ok | ok
6 | 8886616135 | IN-MH-MUM-WR1-0006-New Empire | New Empire | Maharastra_Mumbai | ok | ok | ok | [7 empty] | ok | Not Available | Not Available | Not Available | Not Available | Not Available | Not Available | Not Available | Not Available | Not Available | ok |  | Not Available | Not Available
7 | 9666093283 | IN-MH-MUM-WR1-0007-Cross Road | Cross Road | Maharastra_Mumbai | ok | ok | ok | [7 empty] | Not Available | Not Available | ok | ok | ok |  |  | ok | ok | Not Showing |  |  | Not Available | Not Available
8 | 9666091857 | IN-MH-MUM-WR1-0008-Andheri | Andheri | Maharastra_Mumbai | [24 empty] | Store Removed
10 | 9848361705 | IN-MH-MUM-WR1-0010-Thane | Thane | Maharastra_Mumbai | ok | ok | ok | [7 empty] | Not Available | Not Available | ok | ok | ok | [7 empty] | Not Available | Not Available
12 | 9848368371 | IN-MH-MUM-WR1-0012-Kalamboli | Karnatakalamboli | Maharastra_Mumbai | ok | ok | ok |  |  |  | ok |  |  |  | ok | ok | Not Showing | ok | ok | [7 empty] | ok | Not Available
15 | 8886616134 | IN-MH-MUM-WR1-0015-Phoenix Mills | Phoenix Mills | Maharastra_Mumbai | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Available | ok | ok | [7 empty] | Not Available | Not Available
17 | 7997993022 | IN-MH-MUM-WR1-0017-Mulund | Mulund | Maharastra_Mumbai | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Showing | ok | ok | [7 empty] | Not Showing | Not Available
18 | 7997993019 | IN-MH-MUM-WR1-0018-Metro House Colaba | Metro House Colaba | Maharastra_Mumbai | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Available | ok | ok | [7 empty] | ok | Not Available
22 | 2018000010 | IN-MH-MUM-WR1-0022-Borivali | Borivali | Maharastra_Mumbai | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Available | ok | ok | [7 empty] | Not Available | Not Available
25 | 2017000072 | IN-MH-MUM-WR1-0025-HubMall Goregaon | HubMall GoreGoaon | Maharastra_Mumbai | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Available | ok | ok | [7 empty] | Not Available | Not Available
28 | 9666089574 | IN-MH-MUM-WR1-0028-L City Thane-2 | L City Thane | Maharastra_Mumbai | ok | ok | ok | [7 empty] | Not Available | Not Available | ok | ok | ok | [7 empty] | Not Available | Not Available
46 | 2018000076 | IN-MH-MUM-WR1-0046-MumbaiCentral2 | MumbaibaiCentral2 | Maharastra_Mumbai | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Available | Not Available | ok | [7 empty] | Not Available | Not Available
50 | 9666091715 | IN-MH-MUM-WR1-0050-Thakur Mall | Thakur Mall | Maharastra_Mumbai | ok | ok | ok | [7 empty] | Not Available | Not Available | ok | ok | ok | [7 empty] | ok | Not Available
56 | 2019000028 | IN-MH-MUM-WR1-0056-Kalyan Metro Junction | Karnatakalyan Metro Junction | Maharastra_Mumbai | ok | ok | ok | [7 empty] | ok | Not Showing | Not Available |  | ok | [7 empty] | ok | Not Available
57 | 7658935533 | IN-MH-MUM-WR1-0057-MumbaiExpressway | MumbaibaiExpressway | Maharastra_Mumbai | [24 empty] | Store Removed
70 | 9666091814 | IN-MH-MUM-WR1-0070-Khargar Little World | KharGoar Little World | Maharastra_Mumbai | ok | ok | ok | [7 empty] | ok | Not Available | ok | ok | ok | [7 empty] | Not Available | Not Available
79 | 8886616136 | IN-MH-MUM-WR1-0079-Mira Bhayander | Mira Bhayander | Maharastra_Mumbai | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Showing | ok | ok | [7 empty] | Not Available | Not Available
82 | 2019000089 | IN-MH-MUM-WR1-0082-Kalyan Food Court | Karnatakalyan Food Court | Maharastra_Mumbai | ok | Not Available | Not Available | [7 empty] | Not Available | Not Available | Not Available | ok | Not Available | [7 empty] | Not Available | Not Available
98 | 2019000029 | IN-MH-MUM-WR1-0098-Big Mall Thane | Big Mall Thane | Maharastra_Mumbai | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Available | ok | ok | [7 empty] | Not Available | Not Available
107 | 9666093358 | IN-MH-MUM-WR1-0107-DLR | DLR | Maharastra_Mumbai | ok | ok | ok | [7 empty] | Not Available | Not Available | ok | ok | ok | [7 empty] | Not Available | Not Available
109 | 7658953300 | IN-MH-MUM-WR1-0109-Shivai | Shivai | Maharastra_Mumbai | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Showing | Not Showing | Not Showing | [7 empty] | Not Available | Not Available
127 | 7729986545 | IN-MH-MUM-WR1-0127-Ghansoli | Ghansoli | Maharastra_Mumbai | ok | ok | ok | [7 empty] | ok | ok | Not Available | ok | ok | [7 empty] | Not Available | Not Available
135 | 9666091638 | IN-MH-MUM-WR1-0135-Ideal Cafe | Ideal Cafe | Maharastra_Mumbai | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Showing | Not Available | ok | [7 empty] | Not Available | Not Available
145 | 2018000017 | IN-MH-MUM-WR1-0145-CBD Belapur | CBD Belapur | Maharastra_Mumbai | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Available | ok | ok | [7 empty] | Not Available | Not Available
149 | 2018000011 | IN-MH-MUM-WR1-0149-Star Mall Dadar | Star Mall Dadar | Maharastra_Mumbai | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Available | ok | ok | [7 empty] | Not Available | Not Available
151 | 2018000074 | IN-MH-MUM-WR1-0151-Lodha Boulevard Thane | Lodha Boulevard Thane | Maharastra_Mumbai | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Available | ok | ok | [5 empty] | ok |  | Not Available | Not Available
158 | 9666089671 | IN-MH-MUM-WR1-0158-BroadwayAve Vasai | BroadwayAve Vasai | Maharastra_Mumbai | ok | ok | [8 empty] | ok | Not Showing | ok | ok | ok | [7 empty] | Not Available | Not Available
161 | 2018000040 | IN-MH-MUM-WR1-0161-Vishwamahal Mulund | Vishwamahal Mulund | Maharastra_Mumbai | ok | ok | ok |  | ok | ok |  |  |  |  | Not Available | Not Available | Not Available | ok | ok |  |  |  |  | ok | ok |  | Not Available | Not Available
163 | 2018000072 | IN-MH-MUM-WR1-0163-Koparkhairane | Koparkhairane | Maharastra_Mumbai | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Available | ok | ok | [7 empty] | Not Available | Not Available
165 | 7729986539 | IN-MH-MUM-WR1-0165-Bansuri Ulhasnagar | Bansuri UlhasnaGoar | Maharastra_Mumbai | [24 empty] | Store Removed
171 | 9666089581 | IN-MH-MUM-WR1-0171-Ripples | Ripples | Maharastra_Mumbai | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Showing | ok | ok | [7 empty] | Not Available | Not Available
181 | 2018000075 | IN-MH-MUM-WR1-0181-SaiElegance AndheriEast | SaiEleGoance AndheriEast | Maharastra_Mumbai | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Available | ok | ok | [7 empty] | Not Available | Not Available
193 | 9666089586 | IN-MH-MUM-WR1-0193-Shelar | Shelar | Maharastra_Mumbai | ok | ok | ok | [7 empty] | ok | ok | ok | ok | ok | [7 empty] | Not Available | Not Available
205 | 7658952200 | IN-MH-MUM-WR1-0205-Landmark | Landmark | Maharastra_Mumbai | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Showing | ok | ok | [7 empty] | Not Available | Not Available
210 | 7658945550 | IN-MH-MUM-WR1-0210-Centurion Mall | Centurion Mall | Maharastra_Mumbai | ok | ok | ok | [7 empty] | Not Available | Not Available | ok | Not Showing | Not Showing | [7 empty] | Not Available | Not Available
212 | 9666089572 | IN-MH-MUM-WR1-0212-A 2 Z Vasai | A 2 Z Vasai | Maharastra_Mumbai | ok | ok | ok | [7 empty] | ok | Not Showing | ok | ok | ok | [7 empty] | Not Available | Not Available
213 | 2018000024 | IN-MH-MUM-WR1-0213-Rabale Navi Mumbai | Rabale Navi Mumbaibai | Maharastra_Mumbai | ok | ok | ok | [7 empty] | ok | Not Available | ok | ok | ok | [7 empty] | ok | Not Available
215 | 9133382106 | IN-MH-MUM-WR1-0215-NTS Bandra | NTS Bandra | Maharastra_Mumbai | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Showing | ok | ok | [7 empty] | Not Available | Not Available
222 | 2018000013 | IN-MH-MUM-WR1-0222-Vaibhav Andheri | Vaibhav Andheri | Maharastra_Mumbai | ok | ok | ok | [7 empty] | Not Available | Not Available |  | ok | ok | ok | ok | ok | ok |  |  |  | Not Available | Not Available
227 | 2017000059 | IN-MH-MUM-WR1-0227-Anupam Store | Anupam Store | Maharastra_Mumbai | ok | ok | ok | [7 empty] | Not Available | Not Available | ok | ok | ok | [7 empty] | Not Available | Not Available
244 | 9848365339 | IN-MH-MUM-WR1-0244-Virar | Virar | Maharastra_Mumbai | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Showing | ok | ok | [7 empty] | Not Available | Not Available
248 | 7349791613 | IN-MH-MUM-WR1-0248-Palghar Manor | Palghar Manor | Maharastra_Mumbai | Not Showing | Not Showing | Not Showing | [7 empty] | Not Showing | Not Showing | Not Showing | Not Showing | Not Showing | [7 empty] | Not Showing | Not Showing
251 | 8886618894 | IN-MH-MUM-WR1-0251-Panvel | Panvel | Maharastra_Mumbai | ok | Not Available | Not Available | [7 empty] | Not Available | Not Available | ok | ok | ok | [7 empty] | Not Available | Not Available
252 | 2016000001 | IN-MH-MUM-WR1-0252-RohitDT Mall | RohitDT Mall | Maharastra_Mumbai | ok | ok | ok | [7 empty] | Not Available | Not Available | ok | ok | ok | [7 empty] | Not Available | Not Available
263 | 9951952243 | IN-MH-MUM-WR1-0263-Dombivili Lodha | Dombivili Lodha | Maharastra_Mumbai | ok | Not Available | ok | [7 empty] | Not Available | Not Available | ok | ok | ok | [7 empty] | Not Available | Not Available
265 | 9951945925 | IN-MH-MUM-WR1-0265-Swastik Naigoan | Swastik Naigoan | Maharastra_Mumbai | ok | ok | ok | [7 empty] | ok | Not Showing | ok | ok | ok | [7 empty] | ok | Not Available
267 | 9951952803 | IN-MH-MUM-WR1-0267-BKC | BKC | Maharastra_Mumbai | [24 empty] | STORE ISSUE
275 | 2017000005 | IN-MH-MUM-WR1-0275-Jogeshwari | Jogeshwari | Maharastra_Mumbai | ok | ok | ok | [7 empty] | Not Available | Not Available | ok | ok | ok | [7 empty] | Not Available | Not Available
277 | 7997993018 | IN-MH-MUM-WR1-0277-Nariman Point | Nariman Point | Maharastra_Mumbai | [24 empty] | Store Removed
281 | 7997993020 | IN-MH-MUM-WR1-0281-Asangaon | AsanGoaon | Maharastra_Mumbai | ok | ok | ok | [7 empty] | ok | ok | ok | ok | ok | [7 empty] | ok | Not Available
284 | 7997993034 | IN-MH-MUM-WR1-0284-Pacific Heights | Pacific Heights | Maharastra_Mumbai | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Showing | ok | ok | [7 empty] | Not Available | Not Available
285 | 2017000067 | IN-MH-MUM-WR1-0285-Avishkar Scion | AvishKarnatakar Scion | Maharastra_Mumbai | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Available | ok | ok | [7 empty] | Not Available | Not Available
294 | 9951948193 | IN-MH-MUM-WR1-0294-VileParle East | VileParle East | Maharastra_Mumbai | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Available | ok | Not Available | [7 empty] | Not Available | Not Available
295 | 2018000089 | IN-MH-MUM-WR1-0295-Nalasopara | Nalasopara | Maharastra_Mumbai | ok | ok | ok | [7 empty] | ok | ok | ok | ok | ok | [7 empty] | ok | Not Available
297 | 9676102377 | IN-MH-MUM-WR1-0297-SeaWoods Grand Central | SeaWoods Grand Central | Maharastra_Mumbai | ok | ok | ok | [7 empty] | ok | Not Available | Not Available | ok | Not Available | [7 empty] | Not Available | Not Available
299 | 2017000024 | IN-MH-MUM-WR1-0299-SumitAristas Satacruz | SumitAristas Satacruz | Maharastra_Mumbai | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Available | Not Showing | Not Showing | [7 empty] | Not Available | Not Available
304 | 2018000028 | IN-MH-MUM-WR1-0304-OrangePark Indore | OrangePark Indore | Maharastra_Mumbai | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Showing | ok | ok | [7 empty] | Not Showing | Not Available
305 | 2017000022 | IN-MH-MUM-WR1-0305-MagnetMall Bhandup | MagnetMall Bhandup | Maharastra_Mumbai | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Available | ok | ok |  |  | Not Available | ok |  |  |  | Not Available | Not Available
309 | 2020000053 | IN-MH-MUM-WR1-0309-Arihant Ghatkopar | Arihant Ghatkopar | Maharastra_Mumbai | ok | ok | ok | [7 empty] | ok | ok | Not Available | ok | ok | [7 empty] | Not Available | Not Available
310 | 2018000001 | IN-MH-MUM-WR1-0310-Khalapur | Khalapur | Maharastra_Mumbai | ok | ok | ok | [7 empty] | ok | ok | ok | ok | Not Available | [7 empty] | ok | Not Available
319 | 2018000025 | IN-MH-MUM-WR1-0319-Dombivili East | Dombivili East | Maharastra_Mumbai | ok | ok | ok | [7 empty] | Not Available | Not Available | ok | ok | ok | [7 empty] | Not Available | Not Available
320 | 2018000027 | IN-MH-MUM-WR1-0320-Haloli Village Palghar | Haloli Village Palghar | Maharastra_Mumbai | [24 empty] | Store Removed
335 | 2018000109 | IN-MH-MUM-WR1-0335-LnT Seawoods | LnT Seawoods | Maharastra_Mumbai | Not Available | ok | ok | [7 empty] | Not Available | Not Available | Not Available | ok | ok | [7 empty] | Not Available | Not Available
336 | 2018000107 | IN-MH-MUM-WR1-0336-Korum Mall Thane | Korum Mall Thane | Maharastra_Mumbai | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Available | ok | ok | [7 empty] | Not Available | Not Available
342 | 2019000020 | IN-MH-MUM-WR1-0342-Igatpuri | IGoatpuri | Maharastra_Mumbai | Not Showing | Not Showing | Not Showing | [7 empty] | Not Showing | Not Showing | Not Showing | Not Showing | Not Showing | [7 empty] | Not Showing | Not Available
343 | 2019000121 | IN-MH-MUM-WR1-0343-Nirmaan Heights | Nirmaan Heights | Maharastra_Mumbai | ok | ok | ok | [7 empty] | Not Available | Not Available | ok | ok | Not Available | [7 empty] | ok | Not Available
344 | 2019000030 | IN-MH-MUM-WR1-0344-Unique Mall Thane | Unique Mall Thane | Maharastra_Mumbai | ok | ok | ok | [7 empty] | Not Available | Not Available | ok | ok | ok | [7 empty] | ok | Not Available
345 | 2019000049 | IN-MH-MUM-WR1-0345-ChurchGate | ChurchGoate | Maharastra_Mumbai | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Available | ok | ok | [7 empty] | ok | Not Available
356 | 2019000096 | IN-MH-MUM-WR1-0356-Khalapur Toll Plaza | Khalapur Toll Plaza | Maharastra_Mumbai | ok | ok | ok | [7 empty] | ok | ok | ok | ok | Not Available | [7 empty] | ok | Not Available
357 | 2019000082 | IN-MH-MUM-WR1-0357-Bhendi Bazaar | Bhendi Bazaar | Maharastra_Mumbai | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Available | ok | Not Available | [7 empty] | Not Available | Not Available
361 | 2019000129 | IN-MH-MUM-WR1-0361-Splendor Borivali | Splendor Borivali | Maharastra_Mumbai | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Available | ok | ok | [7 empty] | Not Available | Not Available
366 | 2019000114 | IN-MH-MUM-WR1-0366-Kohinoor Dadar | Kohinoor Dadar | Maharastra_Mumbai | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Available | ok | ok | [7 empty] | Not Available | Not Available
369 | 2019000127 | IN-MH-MUM-WR1-0369-Badlapur | Badlapur | Maharastra_Mumbai | ok | ok | ok | [7 empty] | Not Available | Not Available | ok | ok | ok | [7 empty] | ok | Not Available
370 | 2019000134 | IN-MH-MUM-WR1-0370-Vashi Raghuleela | Vashi Raghuleela | Maharastra_Mumbai | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Available | ok | ok | [7 empty] | Not Available | Not Available
376 | 2020000039 | IN-MH-MUM-WR1-0376-T2 Mumbai | T2 Mumbaibai | Maharastra_Mumbai | Not Showing | Not Showing | Not Showing | [8 empty] | Not Available | Not Available | Not Showing | Not Showing | [7 empty] | Not Available | Not Available
7658 | 7658949900 | IN-MH-MUM-WR1-7658-Shalimar | Shalimar | Maharastra_Mumbai
DE20 | 7997993021 | IN-MH-MUM-WR1-DE20-Ghatkopar | Ghatkopar | Maharastra_Mumbai
11 | 9666093127 | IN-MH-PUN-WR1-0011-JM Road | JM Road | Maharastra_Pune | ok | ok | ok | [7 empty] | ok | ok | Not Showing | Not Showing | Not Showing | [7 empty] | Not Showing | Not Available
27 | 7658951114 | IN-MH-PUN-WR1-0027-Marigold | Marigold | Maharastra_Pune | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Showing | ok | ok | [7 empty] | ok | Not Available
31 | 9133382099 | IN-MH-PUN-WR1-0031-Kothrud | Kothrud | Maharastra_Pune | ok | ok | ok | [7 empty] | ok | Not Showing | ok | ok | ok | [7 empty] | ok | Not Available
33 | 9666093103 | IN-MH-PUN-WR1-0033-Nasik | Nasik | Maharastra_Pune | ok | ok | ok | [7 empty] | Not Available | Not Available | ok | ok | ok | [7 empty] | ok | Not Available
34 | 9133382103 | IN-MH-PUN-WR1-0034-SGS Mall | SGS Mall | Maharastra_Pune | ok | ok | ok | [7 empty] | Not Available | Not Available | ok | ok | ok | [7 empty] | Not Available | Not Available
40 | 9666093258 | IN-MH-PUN-WR1-0040-Aundh | Aundh | Maharastra_Pune | ok | ok | ok | [7 empty] | ok | ok | ok | ok | ok | [7 empty] | ok | Not Available
43 | 9666093184 | IN-MH-PUN-WR1-0043-PCMC | PCMC | Maharastra_Pune | ok | ok | ok | [7 empty] | ok | ok | ok | ok | ok | [7 empty] | Not Showing | Not Available
54 | 9666092275 | IN-MH-PUN-WR1-0054-HinjeWadi | HinjeWadi | Maharastra_Pune | ok | ok | ok | [7 empty] | ok | ok | Not Showing | ok | ok | [7 empty] | ok | Not Available
64 | 9666093054 | IN-MH-PUN-WR1-0064-Sacred world | Sacred world | Maharastra_Pune | ok | ok | ok | [7 empty] | Not Available | Not Available | ok | ok | ok | [7 empty] | ok | Not Available
65 | 9666093062 | IN-MH-PUN-WR1-0065-Kolhapur Highway | Kolhapur Highway | Maharastra_Pune | ok | ok | ok | [7 empty] | ok | ok | ok | Not Available | ok | [7 empty] | ok | Not Available
87 | 9666092371 | IN-MH-PUN-WR1-0087-Khedshivapur | Khedshivapur | Maharastra_Pune | ok | ok | ok | [7 empty] | ok | ok | ok | ok | ok | [7 empty] | ok | Not Available
120 | 9666092148 | IN-MH-PUN-WR1-0120-Paud Road | Paud Road | Maharastra_Pune | ok | ok | ok | [7 empty] | ok | ok | Not Showing | ok | ok | [7 empty] | ok | Not Available
129 | 9666092634 | IN-MH-PUN-WR1-0129-Lonawala Square | Lonawala Square | Maharastra_Pune | ok | ok | ok | [7 empty] | ok | ok | ok | Not Available | ok | [7 empty] | ok | Not Available
130 | 7997993049 | IN-MH-PUN-WR1-0130-Megamart Dapodi | MeGoamart Dapodi | Maharastra_Pune | ok | ok | ok | [7 empty] | Not Available | Not Available | ok | ok | ok | [7 empty] | ok | Not Available
141 | 9666092556 | IN-MH-PUN-WR1-0141-BPCL Talegoan | BPCL Talegoan | Maharastra_Pune | ok | ok | ok | [7 empty] | ok | Not Showing | ok | ok | ok | [7 empty] | ok | Not Available
144 | 2018000082 | IN-MH-PUN-WR1-0144-CentralMall Pune | CentralMall Punee | Maharastra_Pune | ok | ok | ok | [7 empty] | Not Available | Not Available | ok | Not Showing | Not Showing | [7 empty] | Not Available | Not Available
150 | 9666092038 | IN-MH-PUN-WR1-0150-Thergoan | Thergoan | Maharastra_Pune | ok | ok | ok | [7 empty] | ok | ok | ok | ok | ok | [7 empty] | ok | Not Available
164 | 7997993045 | IN-MH-PUN-WR1-0164-Rahatani | Rahatani | Maharastra_Pune | ok | ok | ok | [7 empty] | Not Available | Not Available | ok | ok | ok | [7 empty] | Not Showing | Not Available
208 | 9666092915 | IN-MH-PUN-WR1-0208-Loni Kalbhor | Loni Karnatakalbhor | Maharastra_Pune | ok | ok | ok | [7 empty] | ok | ok | ok | ok | ok | [7 empty] | Not Available | Not Available
214 | 7997993046 | IN-MH-PUN-WR1-0214-Simhagad Road | SiMaharastraaGoad Road | Maharastra_Pune | ok | ok | ok | [7 empty] | Not Available | Not Available | ok | ok | ok | [7 empty] | ok | Not Available
217 | 7658943300 | IN-MH-PUN-WR1-0217-Aurangabad | AuranGoabad | Maharastra_Pune | ok | ok | ok | [7 empty] | ok | Not Showing | ok | ok | ok | [7 empty] | ok | Not Available
221 | 7997993050 | IN-MH-PUN-WR1-0221-Patil City Mall | Patil City Mall | Maharastra_Pune | ok | ok | ok | [7 empty] | Not Available | Not Available | ok | ok | ok | [7 empty] | Not Showing | Not Available
231 | 7997993047 | IN-MH-PUN-WR1-0231-Poorva Heights | Poorva Heights | Maharastra_Pune | ok | ok | ok | [7 empty] | ok | ok | ok | ok | ok | [7 empty] | ok | Not Available
232 | 7658952220 | IN-MH-PUN-WR1-0232-Warji | Warji | Maharastra_Pune | ok | ok | ok | [7 empty] | ok | ok | ok | ok | ok | [7 empty] | ok | Not Available
242 | 7997993048 | IN-MH-PUN-WR1-0242-Sonali | Sonali | Maharastra_Pune | ok | ok | ok | [7 empty] | ok | ok | ok | ok | ok | [7 empty] | ok | Not Available
249 | 9951949851 | IN-MH-PUN-WR1-0249-Sholapur | Sholapur | Maharastra_Pune | ok | ok | ok | [7 empty] | ok | ok | ok | ok | ok | [7 empty] | ok | Not Available
250 | 9951948430 | IN-MH-PUN-WR1-0250-Magneto Mall | Magneto Mall | Maharastra_Pune | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Available | ok | Not Available |  |  | Not Showing | Not Showing |  |  |  | Not Available | Not Available
253 | 9951947837 | IN-MH-PUN-WR1-0253-Nasik2 | Nasik2 | Maharastra_Pune | ok | ok | ok | [7 empty] | ok | Not Showing | ok | ok | ok | [7 empty] | ok | Not Available
256 | 9951945817 | IN-MH-PUN-WR1-0256-Ambegoan | Ambegoan | Maharastra_Pune | ok | ok | ok | [7 empty] | ok | Not Showing | ok | ok | ok | [7 empty] | ok | Not Available
291 | 7997993043 | IN-MH-PUN-WR1-0291-Ambuja Mall | Ambuja Mall | Maharastra_Pune | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Showing | ok | ok | [7 empty] | ok | Not Available
302 | 2017000023 | IN-MH-PUN-WR1-0302-Ozarde FoodMall | Ozarde FoodMall | Maharastra_Pune | ok | ok | ok | [7 empty] | Not Available | Not Available | ok | ok | Not Available | [7 empty] | ok | Not Available
326 | 2018000088 | IN-MH-PUN-WR1-0326-Kharadi | Kharadi | Maharastra_Pune | ok | ok | ok | [7 empty] | ok | Not Showing | ok | ok | ok | [7 empty] | ok | Not Available
333 | 2018000096 | IN-MH-PUN-WR1-0333-Wagoli | Wagoli | Maharastra_Pune | ok | ok | ok | [7 empty] | ok | ok | ok | ok | ok | [7 empty] | ok | Not Available
334 | 2019000007 | IN-MH-PUN-WR1-0334-Trillium Mall Nagpur | Trillium Mall Nagpur | Maharastra_Pune | ok | ok | ok | [7 empty] | Not Available | Not Available | ok | ok | Not Available | [7 empty] | Not Available | Not Available
358 | 2019000101 | IN-MH-PUN-WR1-0358-ProzoneMall Aurangabad | ProzoneMall AuranGoabad | Maharastra_Pune | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Available | ok | Not Available | [7 empty] | ok | Not Available
359 | 2019000139 | IN-MH-PUN-WR1-0359-Poonam Chamber | Poonam Chamber | Maharastra_Pune | ok | ok | ok | [7 empty] | ok | Not Showing | ok | ok | Not Available | [7 empty] | ok | Not Available
363 | 2019000120 | IN-MH-PUN-WR1-0363-Blue Ridge Hinjewadi | Blue Ridge Hinjewadi | Maharastra_Pune | ok | ok | ok | [7 empty] | Not Available | Not Available | ok | ok | ok | [7 empty] | ok | Not Available
365 | 2020000006 | IN-MH-PUN-WR1-0365-ELPRO Mall | ELPRO Mall | Maharastra_Pune | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Available | ok | Not Available | [7 empty] | Not Available | Not Available
DORA | 8886618890 | IN-MH-PUN-WR1-DORA-Dorabjee Mall | Dorabjee Mall | Maharastra_Pune
G262 | 9951082951 | IN-MH-PUN-WR1-G262-MCDonaldMall Goa | MCDonaldMall Goa | Maharastra_Pune
M292 | 2017000003 | IN-MH-PUN-WR-M292-Amonara Town | Amonara Town | Maharastra_Pune | [24 empty] | Store Removed
42 | 2018000007 | IN-TG-HYD-SR1-0042-Prasads Imax | Prasads Imax | Telangana_Hyderabad | Not Showing | Not Showing | Not Showing | [7 empty] | Not Available | Not Available | Not Showing | Not Showing | Not Showing | [7 empty] | Not Available | Not Available
47 | 9666090841 | IN-TG-HYD-SR1-0047-Karkhana | Karnatakarkhana | Telangana_Hyderabad | ok | ok | ok | [7 empty] | ok | ok | Not Showing | ok | Not Available | [7 empty] | Not Showing | Not Available
60 | 7729986540 | IN-TG-HYD-SR1-0060-ASRaoNagar | ASRaoNaGoar | Telangana_Hyderabad | ok | ok | ok | [7 empty] | ok | ok | Not Showing | ok | Not Available | ok | ok | ok | ok |  |  |  | ok | Not Available
69 | 9133382098 | IN-TG-HYD-SR1-0069-GMR Hyd | GMR Hyderabad | Telangana_Hyderabad | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Available | ok | ok | [7 empty] | ok | Not Available
91 | 2018000009 | IN-TG-HYD-SR1-0091-Inorbit Mall | Inorbit Mall | Telangana_Hyderabad | ok | Not Available | ok | [7 empty] | Not Available | Not Available | Not Available | ok | Not Available | [7 empty] | Not Available | Not Available
101 | 7729986536 | IN-TG-HYD-SR1-0101-SDRoad SecBad | SDRoad SecBad | Telangana_Hyderabad | ok | ok | ok | [7 empty] | ok | ok | ok | ok | Not Available | [7 empty] | ok | Not Available
105 | 9676110586 | IN-TG-HYD-SR1-0105-Himayathnagar | HimayathnaGoar | Telangana_Hyderabad | ok | ok | ok | [7 empty] | ok | Not Showing | ok | ok | ok | ok | ok | ok | ok |  |  |  | ok | Not Available
134 | 9666090253 | IN-TG-HYD-SR1-0134-Tolichowki | Tolichowki | Telangana_Hyderabad | ok | ok | ok | [7 empty] | ok | ok | ok | ok | ok | ok | ok | ok | ok |  |  |  | ok | Not Available
138 | 7997993035 | IN-TG-HYD-SR1-0138-Hitech City | Hitech City | Telangana_Hyderabad | ok | ok | ok | ok | [6 empty] | ok | Not Available | ok | ok | ok |  |  | Not Available | ok | ok |  |  | ok | Not Showing
152 | 2018000008 | IN-TG-HYD-SR1-0152-Central Mall | Central Mall | Telangana_Hyderabad | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Showing | ok | Not Available | [7 empty] | Not Available | Not Available
169 | 7729986541 | IN-TG-HYD-SR1-0169-SIS Mall | SIS Mall | Telangana_Hyderabad | ok | Not Available | ok | ok |  |  |  | ok | ok |  | ok | Not Available | Not Available | Not Available | Not Available |  |  | ok | ok | ok |  | ok | Not Available | Not Available
191 | 7997993036 | IN-TG-HYD-SR1-0191-Mehdipatnam | MehdipaTamilNaduam | Telangana_Hyderabad | ok | ok | ok | [7 empty] | ok | ok | ok | ok | ok | [5 empty] | ok |  | ok | Not Available
197 | 2018000006 | IN-TG-HYD-SR1-0197-Manjeera Mall | Manjeera Mall | Telangana_Hyderabad | [24 empty] | Store Removed
206 | 7997993037 | IN-TG-HYD-SR1-0206-Gaganpahad | GoaGoanpahad | Telangana_Hyderabad | ok | ok | ok | [7 empty] | ok | Not Showing | ok | ok | ok | [7 empty] | ok | ok
226 | 7997993038 | IN-TG-HYD-SR1-0226-Uppal | Uppal | Telangana_Hyderabad | ok | ok | ok | [7 empty] | ok | ok | ok | ok | ok | [7 empty] | ok | Not Available
240 | 7997993039 | IN-TG-HYD-SR1-0240-Appaji Nagar | ApPanjimi NaGoar | Telangana_Hyderabad | ok | ok | ok | [7 empty] | ok | Not Showing | ok | ok | ok | [7 empty] | Not Showing | Not Available
246 | 9951083071 | IN-TG-HYD-SR1-0246-SujanaForum Mall | SujanaForum Mall | Telangana_Hyderabad | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Available | ok | Not Available | [7 empty] | Not Available | Not Available
254 | 9951950071 | IN-TG-HYD-SR1-0254-LB Nagar | LB NaGoar | Telangana_Hyderabad | ok | ok | ok | [7 empty] | ok | ok | ok | ok | ok | [7 empty] | ok | ok
255 | 9951945673 | IN-TG-HYD-SR1-0255-Nellore | Nellore | Telangana_Hyderabad | ok | ok | ok | [7 empty] | ok | Not Showing | Not Showing | ok | ok | [7 empty] | Not Available | Not Available
271 | 9951945297 | IN-TG-HYD-SR1-0271-Vijayawada | Vijayawada | Telangana_Hyderabad | ok | ok | ok | [7 empty] | ok | ok | ok | ok | ok | ok | ok | ok | ok |  |  |  | ok | Not Available
272 | 9133382095 | IN-TG-HYD-SR1-0272-Namishree | Namishree | Telangana_Hyderabad | ok | ok | ok | [7 empty] | ok | Not Showing | ok | ok | ok | [7 empty] | Not Available | Not Available
298 | 2017000018 | IN-TG-HYD-SR1-0298-CMR Vizag | CMR Vizag | Telangana_Hyderabad | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Available | ok | ok | [7 empty] | Not Available | Not Available
321 | 2018000063 | IN-TG-HYD-SR1-0321-MPM Mall Abids | MPM Mall Abids | Telangana_Hyderabad | ok | ok | ok | [7 empty] | Not Available | Not Available | ok | ok | ok | [7 empty] | ok | Not Available
322 | 2018000053 | IN-TG-HYD-SR1-0322-Jubilee Hills | Jubilee Hills | Telangana_Hyderabad | ok | ok | ok | [7 empty] | Not Available | Not Showing | ok | ok | ok | [7 empty] | ok | Not Available
324 | 2018000086 | IN-TG-HYD-SR1-0324-Kompally | Kompally | Telangana_Hyderabad | ok | ok | ok | [7 empty] | ok | ok | ok | ok | ok | [7 empty] | ok | Not Available
325 | 2018000085 | IN-TG-HYD-SR1-0325-Kakinada | Karnatakakinada | Telangana_Hyderabad | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Showing | ok | ok | [7 empty] | Not Available | Not Available
332 | 2019000083 | IN-TG-HYD-SR1-0332-GSM MAll Miyapur | GSM MAll Miyapur | Telangana_Hyderabad | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Available | ok | Not Available | [7 empty] | Not Available | Not Available
338 | 2019000011 | IN-TG-HYD-SR1-0338-BNR SV Mall Tirupati | BNR SV Mall Tirupati | Telangana_Hyderabad | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Available | ok | ok | [7 empty] | Not Available | Not Available
340 | 2019000013 | IN-TG-HYD-SR1-0340-SarathCity LG 4-Floor | SarathCity LG 4 | Telangana_Hyderabad | ok | ok | ok | [7 empty] | Not Available | Not Available | ok | ok | Not Available | [7 empty] | Not Available | Not Available
341 | 2019000012 | IN-TG-HYD-SR1-0341-SarathCity LG G-Floor | SarathCity LG G | Telangana_Hyderabad | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Showing | Not Showing | Not Showing | [7 empty] | Not Available | Not Available
353 | 2019000093 | IN-TG-HYD-SR1-0353-DSL Mall Uppal | DSL Mall Uppal | Telangana_Hyderabad | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Available | ok | Not Available | [7 empty] | Not Available | Not Available
283 | 2016000003 | IN-TN-CHN-SR-0283-Vivira Mall | Vivira Mall | TamilNadu_Chennai | [24 empty] | Store Removed
83 | 9666087824 | IN-TN-CHN-SR1-0083-Anna Nagar | Anna NaGoar | TamilNadu_Chennai | ok | ok | ok | [7 empty] | ok | ok | ok | ok | ok |  |  |  |  | Not Showing |  |  | Not Available | Not Available
90 | 9666089162 | IN-TN-CHN-SR1-0090-Grand Arcade | Grand Arcade | TamilNadu_Chennai | ok | ok | ok | [6 empty] | ok | ok | Not Showing | ok | ok | ok | [7 empty] | Not Available | Not Available
146 | 2018000079 | IN-TN-CHN-SR1-0146-Fun Mall Coimbatore | Fun Mall Coimbatore | TamilNadu_Chennai | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Showing | Not Showing | Not Showing | [7 empty] | Not Available | Not Available
154 | 9666087360 | IN-TN-CHN-SR1-0154-Kilpauk | Kilpauk | TamilNadu_Chennai | ok | ok | ok | [7 empty] | ok | ok | ok | ok | ok |  |  |  |  | Not Showing |  |  | Not Available | Not Available
159 | 9666089326 | IN-TN-CHN-SR1-0159-OMR | OMR | TamilNadu_Chennai | ok | ok | ok | [7 empty] | ok | ok | ok | ok | ok |  |  |  |  | Not Showing |  |  | Not Available | Not Available
172 | 9666087937 | IN-TN-CHN-SR1-0172-Arcot Road | Arcot Road | TamilNadu_Chennai | ok | ok | Not Available | [7 empty] | Not Available | ok | ok | Not Showing | Not Showing | [7 empty] | Not Available | Not Available
177 | 9666089015 | IN-TN-CHN-SR1-0177-Ashok Nagar | Ashok NaGoar | TamilNadu_Chennai | ok | ok | ok | [6 empty] | ok | ok | ok | ok | ok | ok | [7 empty] | Not Available | Not Available
211 | 2017000007 | IN-TN-CHN-SR1-0211-Adyar | Adyar | TamilNadu_Chennai | ok | ok | ok | [7 empty] | ok | Not Showing | Not Showing | ok | Not Available | [7 empty] | Not Showing | Not Available
268 | 9951082941 | IN-TN-CHN-SR1-0268-Spencer Plaza | Spencer Plaza | TamilNadu_Chennai | ok | ok | ok | [7 empty] | ok | Not Showing | ok | ok | ok |  |  |  |  | ok |  |  | Not Available | Not Available
286 | 2017000063 | IN-TN-CHN-SR1-0286-Nazarathpet | Nazarathpet | TamilNadu_Chennai | ok | ok | ok | [7 empty] | ok | Not Showing | ok | ok | ok | Not Available | ok | [5 empty] | Not Available | Not Available
287 | 9133382105 | IN-TN-CHN-SR1-0287-Maraimalai Nagar | Maraimalai NaGoar | TamilNadu_Chennai | ok | ok | ok | [7 empty] | ok | ok | ok | Not Showing | Not Showing | [7 empty] | Not Available | Not Available
316 | 2018000062 | IN-TN-CHN-SR1-0316-VR Mall Koyambedu | VR Mall Koyambedu | TamilNadu_Chennai | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Available | ok | ok |  |  |  |  | Not Showing |  |  | Not Available | Not Available
323 | 2018000050 | IN-TN-CHN-SR1-0323-ProvidenceMall Pondi | ProvidenceMall Pondi | TamilNadu_Chennai | ok | ok | ok | [7 empty] | Not Available | Not Available | ok | ok | ok |  |  |  |  | Not Showing |  |  | Not Available | Not Available
331 | 2018000102 | IN-TN-CHN-SR1-0331-PondiBazaar Tnagar | PondiBazaar TamilNaduaGoar | TamilNadu_Chennai | ok | ok | ok | [7 empty] | ok | Not Showing | ok | ok | ok | Not Available | ok |  |  | Not Showing |  |  | Not Available | Not Available
346 | 2019000051 | IN-TN-CHN-SR1-0346-ECR Palavakkam | ECR PalavakKarnatakam | TamilNadu_Chennai | ok | ok | ok | [7 empty] | Not Available | Not Available | ok | ok | ok | [7 empty] | Not Available | Not Available
350 | 2019000111 | IN-TN-CHN-SR1-0350-OMR GIRE Thoraipakkam | OMR GIRE ThoraipakKarnatakam | TamilNadu_Chennai | ok | ok | ok | [7 empty] | Not Available | Not Available | ok | ok | Not Available | [7 empty] | Not Available | Not Available
351 | 2019000086 | IN-TN-CHN-SR1-0351-Perungalathur | PerunGoalathur | TamilNadu_Chennai | ok | ok | ok | [7 empty] | Not Available | Not Available | Not Available | Not Showing | Not Showing | [7 empty] | Not Available | Not Available
T289 | 2017000020 | IN-TN-CHN-SR1-T289-Prozone Mall | Prozone Mall | TamilNadu_Chennai | Not Showing | Not Showing | Not Showing | [7 empty] | Not Available | Not Available | Not Showing | Not Showing | Not Showing | [7 empty] | Not Available | Not Available

## Barbeque
Station Id | Station Code | Station Name | Site Name | Station Location | Electricity Monitoring | [11 empty] | Diesel Generator System | LPG Gas Lines System | Temperature Monitoring |  | Indoor Air Quality |  | AHU System | Cold Storage Monitor | Load Meter | Water Flow | Munter | Munter AC control | Misc
[5 empty] | EB_KW_Main (KW) | HVAC_Main (KW) | Kitchen_Equip_Main(KWH) | Exhaust | Cold Room | Chiller | Freezer | Pump | Compressor | Lobby | Muffin Machine | DG Main | Diesel Generator | LPG | kitchen | Lobby | kitchen | Lobby | AHU Names | Cold Room | Kitchen | Water Flow | Running_Hrs | Running_Hrs | Misc Difference | Remarks
2018000031 | BN04 | IN-KA-BGL-SR1-BN04-JP Nagar | JP Nagar | Karnataka_Bangalore | ok | ok | ok | [8 empty] | ok | [6 empty] | 3 Flr Bar area-1,2,3Flr Sec 3-1,3-2,3 Flr Sec 2 | [5 empty] | 69 | HVAC 259 is not showing
2018000032 | BN05 | IN-KA-BGL-SR1-BN05-Indira Nagar | Indira Nagar | Karnataka_Bangalore | Not Showing | Not Showing | Not Showing | [15 empty] | Not Showing | [6 empty] | Not Showing
2018000033 | BN06 | IN-KA-BGL-SR1-BN06-Manipal | Manipal | Karnataka_Bangalore | Not Showing | Not Showing | ok | [15 empty] | HVAC-1,2,3 | [5 empty] | 142
2018000041 | BN08 | IN-KA-BGL-SR1-BN08-Koramangala | Koramangala | Karnataka_Bangalore | ok | ok | ok | [8 empty] | ok | ok | [5 empty] | HVAC-1 | [5 empty] | 61 | HVAC 257,258 Not Showing
2018000042 | BN09 | IN-KA-BGL-SR1-BN09-RajajiNagar | RajajiNagar | Karnataka_Bangalore | Not Showing | ok | ok | [15 empty] | TFA,Bar counter,Section_4,_3,_2 | [5 empty] | 575 | HVAC 257,258 Not Showing
2018000043 | BN10 | IN-KA-BGL-SR1-BN10-Yelahanka | Yelahanka | Karnataka_Bangalore | ok | ok | ok | [8 empty] | ok | [6 empty] | Section_1,Section_2 Area1,Area2,Section_3 | [5 empty] | 233 | Misc valve is high
2018000044 | BN11 | IN-KA-BGL-SR1-BN11-Kochi | Kochi | Karnataka_Bangalore | ok | ok | ok | [8 empty] | ok | [6 empty] | Kulfi counter,Bar area,Main entrance,Sec-3 kitchen | [5 empty] | -134 | Misc valve is high
2018000045 | BN12 | IN-KA-BGL-SR1-BN12-Trivendrum | Trivendrum | Karnataka_Bangalore | ok | ok | ok | [8 empty] | ok | [6 empty] | Fish Tank,Reception,cash counter,kids side,TFA, Casual room | [5 empty] | 52 | 256,258,259,260,261 not showing
2018000046 | BN13 | IN-KA-BGL-SR1-BN13-ArenaMall | ArenaMall | Karnataka_Bangalore | ok | ok | ok | [8 empty] | ok | [6 empty] | Bar counter-1,2,Cash counter,Music system,Entrance,PDR-1,2 | [5 empty] | 39
2018000048 | BN14 | IN-KA-BGL-SR1-BN14-ElectronicCity | ElectronicCity | Karnataka_Bangalore | ok | ok | ok | [8 empty] | ok | [6 empty] | Main entrance,Section_1,Section_2,Section_3 Buffet | [5 empty] | 122
2018000049 | BN15 | IN-KA-BGL-SR1-BN15-Kalyan Nagar | Kalyan Nagar | Karnataka_Bangalore | Not Showing | ok | ok | [9 empty] | Not Showing | [5 empty] | TFA Kulfi system,Music system,Reception,PDR,Buffet,Section_4 | [5 empty] | 155
2018000058 | BN16 | IN-KA-BGL-SR1-BN16-Mysore | Mysore | Karnataka_Bangalore | Not Showing | Not Showing | ok | [21 empty] | 174
2018000057 | BN20 | IN-KA-BGL-SR1-BN20-Mangalore | Mangalore | Karnataka_Bangalore | ok | ok | ok | [21 empty] | 89
2018000054 | BN22 | IN-KA-BGL-SR1-BN22-Lidomall | Lidomall | Karnataka_Bangalore | ok | ok | ok | [8 empty] | ok | [6 empty] | Section_1,_2,_3 | [5 empty] | 47
2017000060 | BN01 | IN-TG-HYD-SR1-BN01-B Nation BanjaraHills | B Nation BanjaraHills | Telangana_Hyderabad | ok | ok | Not Showing | [8 empty] | ok | Not Showing | ok | Deserts counter,Buffet area,Section-1 area,Sectio-4 area |  |  |  | Entrance,fire panel,Music System,Cash counter,Kulfi fridge,Bar counter,Section_4 | [5 empty] | 294 | HVAC 256,262 not showing
2018000030 | BN03 | IN-TG-HYD-SR1-BN03-Gachibowli | Gachibowli | Telangana_Hyderabad | Not Showing | Not Showing | Not Showing | [8 empty] | Not Showing | ok | [5 empty] | Section_1,_2,_3,PDR-1,AHU-1 | [6 empty] | Electricity Monitoring & HVAC 256 not showing
2018000061 | BN19 | IN-TG-HYD-SR1-BN19-Vijayawada | Vijayawada | Telangana_Hyderabad | ok | ok | ok | [21 empty] | 108
2018000064 | BN24 | IN-TG-HYD-SR1-BN24-Vizag | Vizag | Telangana_Hyderabad | Not Showing | Not Showing | Not Showing | [8 empty] | Not Showing | [13 empty] | Not Showing
2017000061 | BN02 | IN-TN-CHN-SR1-BN02-B Nation Velachery | B Nation Velachery | TamilNadu_Chennai | ok | ok | ok | [10 empty] | ok | Front lobby AC,Back lobby AC,Buffet area,CDR AC |  |  |  | Bar,Kitchen,Last lobby,EB panel room,Party lobby | [5 empty] | 166 | HVAC 257 not showing
2018000034 | BN07 | IN-TN-CHN-SR1-BN07-T Nagar | T Nagar | TamilNadu_Chennai | ok | ok | ok | [8 empty] | ok | ok | [5 empty] | Display kitchen1,2,Kulfi counter,Wash room,Bar TFA,Dining TFA | [5 empty] | 275 | Misc valve is high
2018000059 | BN17 | IN-TN-CHN-SR1-BN17-Nungambakkam | Nungambakkam | TamilNadu_Chennai | Not Showing | ok | ok | [15 empty] | Deserts counter,Kulfi counter,Audio system,Section_1,dis Kitchen NV,VG | [5 empty] | 507 | Misc valve is high
2018000060 | BN18 | IN-TN-CHN-SR1-BN18-Salem | Salem | TamilNadu_Chennai | Not Showing | ok | ok | [9 empty] | ok | [5 empty] | Counter,Section_1,Section_2 Area,_3 Area | [5 empty] | 383 | Misc valve is high
2018000056 | BN21 | IN-TN-CHN-SR1-BN21-Madurai | Madurai | TamilNadu_Chennai | ok | ok | ok | [8 empty] | ok | [6 empty] | Section_1,_2,_3,Section_1 TFA | [5 empty] | 173 | Misc valve is high
2018000065 | BN23 | IN-TN-CHN-SR1-BN23-Vadapalani | Vadapalani | TamilNadu_Chennai | ok | Not Showing | Not Showing | [8 empty] | ok | ok | [5 empty] | Cash counter,Buffet Left,Bar Right,Bar left,Locker Room,Reception | [5 empty] | 664 | HVAC 256,257,261 not showing
2019000001 | BN25 | IN-WB-KOL-ER1-BN25-Patna | Patna | West Bengal_Kolkata | ok | ok | ok | [15 empty] | Section - 1A,1B,2A,2B,3 | [5 empty] | 358 | Misc valve is high
2019000002 | BN26 | IN-WB-KOL-ER1-BN26-Bhubaneswar | Bhubaneswar | West Bengal_Kolkata | ok | Not Showing | Not Showing | [8 empty] | ok | ok | [5 empty] | kulfi counter,Reception TFA,Bar counter TFA,Cash counter,Music system,Section_3
2019000003 | BN27 | IN-WB-KOL-ER1-BN27-DiamondPlaza Kolkata | DiamondPlaza Kolkata | West Bengal_Kolkata | ok | ok | ok | [21 empty] | 97
2019000004 | BN28 | IN-WB-KOL-ER1-BN28-Dimapur | Dimapur | West Bengal_Kolkata | ok | ok | ok | [8 empty] | ok | Not Showing | [5 empty] | Section_1,Section_2,Section_3 | [5 empty] | 43 | HVAC 257,258 Not Showing
2019000005 | BN29 | IN-WB-KOL-ER1-BN29-Guwahati | Guwahati | West Bengal_Kolkata | ok | ok | ok | [8 empty] | ok | ok | [5 empty] | Section_1A,Section_1B,Section_2,Section_3,Section_4A,Section_4B | [5 empty] | 192 | HVAC 258 Not Showing
2019000006 | BN30 | IN-WB-KOL-ER1-BN30-LakeMall Kolkata | LakeMall Kolkata | West Bengal_Kolkata | ok | ok | ok | [15 empty] | Cash counter,Hand Wash,Salad counter,Bar king-1,Bar king-2 | [5 empty] | 349 | Misc Valve is high
2019000014 | BN31 | IN-WB-KOL-ER1-BN31-Parkstreet Kolkata | Parkstreet Kolkata | West Bengal_Kolkata | ok | ok | ok | ok | [14 empty] | Bar king-1A,Bar king-1B,Bar king-2,Kulfi counter,Cash counter,PDR,Music System | [5 empty] | -99 | HVAC 256 Not Showing
2019000015 | BN32 | IN-WB-KOL-ER1-BN32-MagnetoMall Raipur | MagnetoMall Raipur | West Bengal_Kolkata | ok | ok | Not Showing | [21 empty] | 556 | Misc valve is high
2019000016 | BN33 | IN-WB-KOL-ER1-BN33-Ranchi | Ranchi | West Bengal_Kolkata | ok | ok | ok | [8 empty] | ok | Not Showing | [5 empty] | Buffet,Hand wash,Cash counter,Reception | [5 empty] | 229 | Misc Valve is high
2019000017 | BN34 | IN-WB-KOL-ER1-BN34-SaltLake Kolkata | SaltLake Kolkata | West Bengal_Kolkata | ok | ok | ok | [15 empty] | Not Showing (Bar King,Cash Counter LFT,Cash counter RfT,Entrance,Music system) | [5 empty] | 146 | AHU Not Showing in Energy Systems

## Adyar Anada Bhavan
TxnDate | Cell Id | Station Id | Station Name | Site Name | Station Location | EB_KW_Main (KW) | HVAC_Main (KW) | Kitchen_Equip_Main(KWH) | PF_Main(PF) | DG Main | Remarks
| AB01 | 2018000039 | IN-TN-CHN-SR1-AB01-Chrompet | Chrompet | Chennai

## AIG Hospital
TxnDate | Cell Id | Station Id | Station Name | Site Name | Station Location | EB_KW_Main (KW) | HVAC_Main (KW) | Kitchen_Equip_Main(KWH) | PF_Main(PF) | DG Main | Remarks
| AIG1 | 2019000140 | IN-TG-HYD-SR1-AIG1-Gachibowli | Gachibowli | Hyderabad

## Aizant
TxnDate | Cell Id | Station Id | Station Name | Site Name | Station Location | EB_KW_Main (KW) | HVAC_Main (KW) | Kitchen_Equip_Main(KWH) | PF_Main(PF) | DG Main | Remarks
| AZ01 | 2019000087 | IN-TG-HYD-SR1-AZ01-Gundlapochampally | Gundlapochampally | Hyderabad

## Amcorp Group
TxnDate | Cell Id | Station Id | Station Name | Site Name | Station Location | EB_KW_Main (KW) | HVAC_Main (KW) | Kitchen_Equip_Main(KWH) | PF_Main(PF) | DG Main | Remarks
| 1 | 1960000002 | MY-SL-PLJ-APG-0001-Petaling Jaya | Jalan | Malyasia

## Apollo Hospitals
TxnDate | Cell Id | Station Id | Station Name | Site Name | Station Location | EB_KW_Main (KW) | HVAC_Main (KW) | Kitchen_Equip_Main(KWH) | PF_Main(PF) | DG Main | Remarks
| AH01 | 2018000087 | IN-TG-HYD-SR1-AH01-Jubilee Hills | Jubilee Hills | Hyderabad

## ATC Limited
TxnDate | Cell Id | Station Id | Station Name | Site Name | Station Location | EB_KW_Main (KW) | HVAC_Main (KW) | Kitchen_Equip_Main(KWH) | PF_Main(PF) | DG Main | Remarks
| ATC1 | 2020000044 | IN-KA-BGL-SR1-ATC1-Hosur Road | Rajaji Nagar | Chennai

## Bharat Petrolum Pvt Ltd
TxnDate | Cell Id | Station Id | Station Name | Site Name | Station Location | EB_KW_Main (KW) | HVAC_Main (KW) | Kitchen_Equip_Main(KWH) | PF_Main(PF) | DG Main | Remarks
| 2 | 2021000001 | IN-GJ-AHM-WR2-0002-Gujarat | Baroda | Gujrat
| 1 | 2020000052 | IN-TG-HYD-SR1-0001-Hydrabad | Jubilee Hills | Hyderabad

## Carkhana
TxnDate | Cell Id | Station Id | Station Name | Site Name | Station Location | EB_KW_Main (KW) | HVAC_Main (KW) | Kitchen_Equip_Main(KWH) | PF_Main(PF) | DG Main | Remarks
| CK01 | 2017000030 | IN-TG-HYD-SR1-CK01-Banjara Hills | Venkat Nagar | Hyderabad

## CRBE India
TxnDate | Cell Id | Station Id | Station Name | Site Name | Station Location | EB_KW_Main (KW) | HVAC_Main (KW) | Kitchen_Equip_Main(KWH) | PF_Main(PF) | DG Main | Remarks
| CB01 | 2020000004 | IN-HR-GGN-NR1-CB01-Ambience Tower II | Gurugram | Delhi
| CB02 | 2020000021 | IN-HR-GGN-NR1-CB02-Capital Cyber Space | Gurugram | Delhi
| CB03 | 2020000005 | IN-HR-GGN-NR1-CB03-SP Info City | Gurugram | Delhi

## Cinepolis India Ltd
TxnDate | Cell Id | Station Id | Station Name | Site Name | Station Location | EB_KW_Main (KW) | HVAC_Main (KW) | Kitchen_Equip_Main(KWH) | PF_Main(PF) | DG Main | Remarks
| CP02 | 2020000048 | IN-DL-DLH-NR1-CP02-Cross River Mall | Maharaja Surajmal Marg | Delhi
| DL01 | 2020000047 | IN-DL-DLH-NR1-DL01-Delhi | Delhi | Delhi

## Dominos Pizza
TxnDate | Cell Id | Station Id | Station Name | Site Name | Station Location | EB_KW_Main (KW) | HVAC_Main (KW) | Kitchen_Equip_Main(KWH) | PF_Main(PF) | DG Main | Remarks
| JF01 | 2019000103 | IN-DL-DLH-NCR-JF01-Jankpuri | Jankpuri | Hyderabad
| PN01 | 2020000043 | IN-TG-HYD-SR1-PN01-Pragathi Nagar | Pragathi Nagar | Hyderabad

## Fairmont Building
TxnDate | Cell Id | Station Id | Station Name | Site Name | Station Location | EB_KW_Main (KW) | HVAC_Main (KW) | Kitchen_Equip_Main(KWH) | PF_Main(PF) | DG Main | Remarks
| JLL1 | 2020000003 | IN-MH-MUM-WR1-JLL1-Fairmont Building | Bandra (W) | Gujarat

## Goudium School
TxnDate | Cell Id | Station Id | Station Name | Site Name | Station Location | EB_KW_Main (KW) | HVAC_Main (KW) | Kitchen_Equip_Main(KWH) | PF_Main(PF) | DG Main | Remarks
| GS01 | 2018000093 | IN-TG-HYD-SR1-GS01-Kollur Campus | Kollur | Hyderabad

## Glenmark Pharmaceuticals
TxnDate | Cell Id | Station Id | Station Name | Site Name | Station Location | EB_KW_Main (KW) | HVAC_Main (KW) | Kitchen_Equip_Main(KWH) | PF_Main(PF) | DG Main | Remarks
| GP01 | 2020000054 | IN-GA-CVE-WR1-GP01-Colvale Plant | Goa | Goa

## GreenBox Cold Room Mfg
TxnDate | Cell Id | Station Id | Station Name | Site Name | Station Location | EB_KW_Main (KW) | HVAC_Main (KW) | Kitchen_Equip_Main(KWH) | PF_Main(PF) | DG Main | Remarks
| GC01 | 2020000056 | IN-TG-HYD-SR1-GC01-Glow Chem | IDA Bolaram
| VS01 | 2020000051 | IN-TG-HYD-SR1-VS01-Vital synthetic | Medchal
| GC02 | 2020000049 | IN-TG-HYD-SR1-GC02-Greenbox Hvac P Ltd | Panjagutta | Telangana_Hyderabad

## Hindware
TxnDate | Cell Id | Station Id | Station Name | Site Name | Station Location | EB_KW_Main (KW) | HVAC_Main (KW) | Kitchen_Equip_Main(KWH) | PF_Main(PF) | DG Main | Remarks
| HW01 | 2018000047 | IN-TG-PTH-HYD-HW01-Isnapur | Isnapur

## IBIS Hotels
TxnDate | Cell Id | Station Id | Station Name | Site Name | Station Location | EB_KW_Main (KW) | HVAC_Main (KW) | Kitchen_Equip_Main(KWH) | PF_Main(PF) | DG Main | Remarks
| IH01 | 2019000144 | IN-TG-HYD-SR1-IH01-Madhapur | Madhapur

## ICRISAT
TxnDate | Cell Id | Station Id | Station Name | Site Name | Station Location | EB_KW_Main (KW) | HVAC_Main (KW) | Kitchen_Equip_Main(KWH) | PF_Main(PF) | DG Main | Remarks
| IC01 | 2019000052 | IN-TG-HYD-SR1-IC01-Patencheru | Patancheru

## Indian Oil Corporation Ltd
TxnDate | Cell Id | Station Id | Station Name | Site Name | Station Location | EB_KW_Main (KW) | HVAC_Main (KW) | Kitchen_Equip_Main(KWH) | PF_Main(PF) | DG Main | Remarks
| I002 | 9591490033 | IN-KA-BGL-KA1-I002-Garden City | Garden City
| I005 | 2017000044 | IN-KA-BGL-KA1-I005-LPG Plant Mysore | Kadakola
| I007 | 2017000062 | IN-KA-BGL-KA1-I007-Bhargavi Motors | Blore

## JC Residency
TxnDate | Cell Id | Station Id | Station Name | Site Name | Station Location | EB_KW_Main (KW) | HVAC_Main (KW) | Kitchen_Equip_Main(KWH) | PF_Main(PF) | DG Main | Remarks
| JC01 | 2018000091 | IN-TN-MDU-SR1-JC01-Madurai | Lady Doak Rd

## Kauvery Hospital
TxnDate | Cell Id | Station Id | Station Name | Site Name | Station Location | EB_KW_Main (KW) | HVAC_Main (KW) | Kitchen_Equip_Main(KWH) | PF_Main(PF) | DG Main | Remarks
| KH01 | 2018000094 | IN-TN-TRH-SRC-KH01-Cantonment | Cantonment

## Kayempee Foods Pvt Ltd
TxnDate | Cell Id | Station Id | Station Name | Site Name | Station Location | EB_KW_Main (KW) | HVAC_Main (KW) | Kitchen_Equip_Main(KWH) | PF_Main(PF) | DG Main | Remarks
| KM01 | 2020000035 | IN-TG-HYD-SR1-KM01-Medchal | Medchal

## Konnect IM
TxnDate | Cell Id | Station Id | Station Name | Site Name | Station Location | EB_KW_Main (KW) | HVAC_Main (KW) | Kitchen_Equip_Main(KWH) | PF_Main(PF) | DG Main | Remarks
| KN01 | 2020000031 | IN-MH-PUN-WR1-KN01-Head Office | Sholapur Road

## MGM Health Care
TxnDate | Cell Id | Station Id | Station Name | Site Name | Station Location | EB_KW_Main (KW) | HVAC_Main (KW) | Kitchen_Equip_Main(KWH) | PF_Main(PF) | DG Main | Remarks
| CH01 | 2019000056 | IN-TN-CHN-TN1-CH01-MGM Hospital | Aminjikarai

## Myhomes
TxnDate | Cell Id | Station Id | Station Name | Site Name | Station Location | EB_KW_Main (KW) | HVAC_Main (KW) | Kitchen_Equip_Main(KWH) | PF_Main(PF) | DG Main | Remarks
| MH01 | 2019000037 | IN-TG-HYD-SR1-MH01-Vihanga | Gachibowli

## Nandi Toyota
TxnDate | Cell Id | Station Id | Station Name | Site Name | Station Location | EB_KW_Main (KW) | HVAC_Main (KW) | Kitchen_Equip_Main(KWH) | PF_Main(PF) | DG Main | Remarks
| CO01 | 2019000039 | IN-KA-BGL-SR1-CO01-Corporate Office | Hosur
| WS01 | 2019000040 | IN-KA-BGL-SR1-WS01-Hosur Workshop | Hosur

## Nanjappa Hospital
TxnDate | Cell Id | Station Id | Station Name | Site Name | Station Location | EB_KW_Main (KW) | HVAC_Main (KW) | Kitchen_Equip_Main(KWH) | PF_Main(PF) | DG Main | Remarks
| NJ01 | 2020000029 | IN-KA-SME-WR1-NJ01-Durgigudi | RMR Road

## Narayana Health
TxnDate | Cell Id | Station Id | Station Name | Site Name | Station Location | EB_KW_Main (KW) | HVAC_Main (KW) | Kitchen_Equip_Main(KWH) | PF_Main(PF) | DG Main | Remarks
| 1 | 2018000081 | IN-KA-BGL-SRK-0001-NI cardiac Sciences | Bommasandra

## Novotel Hotels
TxnDate | Cell Id | Station Id | Station Name | Site Name | Station Location | EB_KW_Main (KW) | HVAC_Main (KW) | Kitchen_Equip_Main(KWH) | PF_Main(PF) | DG Main | Remarks
| NT01 | 2018000035 | IN-TG-HYD-SR1-NT01-Hitec City | Hitec

## Oberoi Group
TxnDate | Cell Id | Station Id | Station Name | Site Name | Station Location | EB_KW_Main (KW) | HVAC_Main (KW) | Kitchen_Equip_Main(KWH) | PF_Main(PF) | DG Main | Remarks
| TH01 | 2020000015 | IN-TG-HYD-SR1-TH01-Trident Hotel Hyderabad | Hitec City

## P.R.K Hospitals
TxnDate | Cell Id | Station Id | Station Name | Site Name | Station Location | EB_KW_Main (KW) | HVAC_Main (KW) | Kitchen_Equip_Main(KWH) | PF_Main(PF) | DG Main | Remarks
| CN01 | 2019000119 | IN-TG-HYD-SR1-CN01-Chandanagar | Chandanagar

## Palamuru Bio Sciences
TxnDate | Cell Id | Station Id | Station Name | Site Name | Station Location | EB_KW_Main (KW) | HVAC_Main (KW) | Kitchen_Equip_Main(KWH) | PF_Main(PF) | DG Main | Remarks
| PB01 | 2020000030 | IN-TG-MHB-SR1-PB01-Mahabubnagar Plant | Mahabubnagar

## Perfect Infra Engineers Ltd
TxnDate | Cell Id | Station Id | Station Name | Site Name | Station Location | EB_KW_Main (KW) | HVAC_Main (KW) | Kitchen_Equip_Main(KWH) | PF_Main(PF) | DG Main | Remarks
| PI01 | 2020000045 | IN-MH-MUM-WR1-PI01-Navi Mumbai | Mumbai

## Progressive Technologies
TxnDate | Cell Id | Station Id | Station Name | Site Name | Station Location | EB_KW_Main (KW) | HVAC_Main (KW) | Kitchen_Equip_Main(KWH) | PF_Main(PF) | DG Main | Remarks
| PT01 | 2020000034 | IN-TG-HYD-SR1-PT01-Factory | Gundlapocampally

## ProTech Factory
TxnDate | Cell Id | Station Id | Station Name | Site Name | Station Location | EB_KW_Main (KW) | HVAC_Main (KW) | Kitchen_Equip_Main(KWH) | PF_Main(PF) | DG Main | Remarks
| NTWS | 2019000040 | IN-GJ-AHM-SR1-NTWS-Nandi Toyota Workshop | Benguluru
| NTCO | 2019000039 | IN-KA-BGL-SR1-NTCO-Nandi toyota Corp Office | Benguluru
| AH01 | 2018000087 | IN-TG-HYD-SR1-AH01-Apollo Hospital JH | Jubilee Hills
| GW01 | 2013012345 | IN-TN-CHN-SR1-GW01-Gateway1 | Factory

## Randheer Building Complex
TxnDate | Cell Id | Station Id | Station Name | Site Name | Station Location | EB_KW_Main (KW) | HVAC_Main (KW) | Kitchen_Equip_Main(KWH) | PF_Main(PF) | DG Main | Remarks
| RN02 | 2020000036 | IN-TG-HYD-SR1-RN02-Jubilee Hills New | Hyderabad

## Ratnadeep Super Market
TxnDate | Cell Id | Station Id | Station Name | Site Name | Station Location | EB_KW_Main (KW) | HVAC_Main (KW) | Kitchen_Equip_Main(KWH) | PF_Main(PF) | DG Main | Remarks
| RS01 | 2018000100 | IN-TG-HYD-SR1-RS01-Begumpet | Begumpet

## RINAC India Ltd
TxnDate | Cell Id | Station Id | Station Name | Site Name | Station Location | EB_KW_Main (KW) | HVAC_Main (KW) | Kitchen_Equip_Main(KWH) | PF_Main(PF) | DG Main | Remarks
| RI01 | 2020000055 | IN-KA-BGL-SR1-RI01-Magadi Road | Bedarahalli

## Rockwell Industries Pvt Ltd
TxnDate | Cell Id | Station Id | Station Name | Site Name | Station Location | EB_KW_Main (KW) | HVAC_Main (KW) | Kitchen_Equip_Main(KWH) | PF_Main(PF) | DG Main | Remarks
| RW01 | 2020000033 | IN-TG-HYD-SR1-RW01-Ankit Biscuits | Katedan

## Sandor Pharma
TxnDate | Cell Id | Station Id | Station Name | Site Name | Station Location | EB_KW_Main (KW) | HVAC_Main (KW) | Kitchen_Equip_Main(KWH) | PF_Main(PF) | DG Main | Remarks
| SP01 | 2021000013 | IN-TG-HYD-SR1-SP01-Banjara Hills | Banjara Hills

## Saveetha Medical College
TxnDate | Cell Id | Station Id | Station Name | Site Name | Station Location | EB_KW_Main (KW) | HVAC_Main (KW) | Kitchen_Equip_Main(KWH) | PF_Main(PF) | DG Main | Remarks
| SU01 | 2019000141 | IN-TN-CHN-SR1-SU01-Medical college | Thandalam

## SKS
TxnDate | Cell Id | Station Id | Station Name | Site Name | Station Location | EB_KW_Main (KW) | HVAC_Main (KW) | Kitchen_Equip_Main(KWH) | PF_Main(PF) | DG Main | Remarks
| SKS1 | 2018000018 | IN-TN-SLM-SR1-SKS1-Hospital | Alagapuram

## Smilax Laboratories
TxnDate | Cell Id | Station Id | Station Name | Site Name | Station Location | EB_KW_Main (KW) | HVAC_Main (KW) | Kitchen_Equip_Main(KWH) | PF_Main(PF) | DG Main | Remarks
| SL01 | 2020000040 | IN-TG-HYD-SR1-SL01-Jeedimetla | Hyderabad

## Taco Bell
TxnDate | Cell Id | Station Id | Station Name | Site Name | Station Location | EB_KW_Main (KW) | HVAC_Main (KW) | Kitchen_Equip_Main(KWH) | PF_Main(PF) | DG Main | Remarks
| 1 | 2020000020 | IN-TG-HYD-SR1-0001-Panjagutta | Panjagutta

## TATA Motors Finance
TxnDate | Cell Id | Station Id | Station Name | Site Name | Station Location | EB_KW_Main (KW) | HVAC_Main (KW) | Kitchen_Equip_Main(KWH) | PF_Main(PF) | DG Main | Remarks
| TM01 | 2020000041 | IN-KA-BGL-SR1-TM01-Lal Bagh | Bengaluru

## TATA Trent West Side
TxnDate | Cell Id | Station Id | Station Name | Site Name | Station Location | EB_KW_Main (KW) | HVAC_Main (KW) | Kitchen_Equip_Main(KWH) | PF_Main(PF) | DG Main | Remarks
| TW01 | 2021000012 | IN-TG-HYD-SR1-TW01-Himayatnagar | Hyderabad | Telangana_Hyderabad

## Work Avenue 315
TxnDate | Cell Id | Station Id | Station Name | Site Name | Station Location | EB_KW_Main (KW) | HVAC_Main (KW) | Kitchen_Equip_Main(KWH) | PF_Main(PF) | DG Main | Remarks
| WA01 | 2019000075 | IN-KA-BGL-SR1-WA01-Domlur | Domlur

## Yashodha Hospitals
TxnDate | Cell Id | Station Id | Station Name | Site Name | Station Location | EB_KW_Main (KW) | HVAC_Main (KW) | Kitchen_Equip_Main(KWH) | PF_Main(PF) | DG Main | Remarks
| YH01 | 2018000021 | IN-TG-SEC-SR1-YH01-Secundrabad | Secundrabad