## Adayar Ananda Bhavan
Company Name | Station ID | Station Name | Communication Id | Meters | Utility | Location | Location Group | Remarks
Adayar Ananda Bhavan | AB01 | IN-TN-CHN-SR1-AB01-Chrompet | 2018000039 | Electricity - 0001 | DG Party Hall | Main | GND Floor
|  |  |  | Electricity - 0001 | Party Hall | Main | GND Floor
|  |  |  | Electricity - 0003 | HVAC | Main | GND Floor
|  |  |  | Electricity - 0004 | Kitchen Equip | Main | GND Floor
|  |  |  | Temperature - 0053 | Temperature Monitor | Delivery Counte | GND Floor
|  |  |  | Temperature - 0054 | Temperature Monitor | Hand Wash | GND Floor
|  |  |  | Temperature - 0055 | Temperature Monitor | Entrance | GND Floor
|  |  |  | Temperature - 0056 | Temperature Monitor | Juice Centre | GND Floor
|  |  |  | Temperature - 0058 | Temperature Monitor | Cash Counter | GND Floor
|  |  |  | Fuel Model_2 - 0051 | Diesel Monitoring | Party Hall | GND Floor
|  |  |  | Fuel Model_2 - 0052 | Diesel Monitoring | Restaurant | GND Floor

## AIG Hospital
Company Name | Station ID | Station Name | Communication Id | Meters | Utility | Location | Location Group | Remarks
AIG Hospital | AIG1 | IN-TG-HYD-SR1-AIG1-Gachibowli | 2019000140 | Electricity - 0001 | Linac-1 | Linac_1 | 3rd floor
|  |  |  | HVAC - 0256 | HVAC | Linac_1 | 3rd floor
|  |  |  | HVAC - 0256 | HVAC | Linac_1 | 3rd floor
|  |  |  | Rest Room Monitor - 0230 | Rest Room Monitor | Rest Room | 3rd floor

## Aizant
Company Name | Station ID | Station Name | Communication Id | Meters | Utility | Location | Location Group | Remarks
Aizant | AZ01 | IN-TG-HYD-SR1-AZ01-Gundlapochampally | 2019000087 | Electricity - 0001 | Existing Panel | Main Panel | Electrical Room
|  |  |  | Electricity - 0002 | DSP Block | Main Panel | 2nd Floor
|  |  |  | Electricity - 0002 | DSP Block | Main Panel | 2nd Floor

## Apollo Hospitals
Company Name | Station ID | Station Name | Communication Id | Meters | Utility | Location | Location Group | Remarks
Apollo Hospitals | AH01 | IN-TG-HYD-SR1-AH01-Jubilee Hills | 2018000087 | HVAC - 0256 | HVAC | Tomo Therapy | 1st Floor
|  |  |  | HVAC - 0257 | HVAC | Waiting Hall | 1st Floor
|  |  |  | HVAC - 0258 | HVAC | Novalis Ch WD-2 | 2nd Floor
|  |  |  | HVAC - 0259 | HVAC | Novalis Ch WD-1 | 2nd Floor

## ATC Limited
Company Name | Station ID | Station Name | Communication Id | Meters | Utility | Location | Location Group | Remarks
ATC Limited | ATC1 | IN-KA-BGL-SR1-ATC1-Hosur Road | 2020000044 | Environment - 0052 | Common Area | CTS | Gnd Floor
|  |  |  | Environment - 0053 | Feeder No.5 | CTS | Gnd Floor
|  |  |  | Environment - 0054 | Feeder No.50 | CTS | Gnd Floor
|  |  |  | Environment - 0055 | Dryer Area 2 | Capsule | Gnd Floor
|  |  |  | Environment - 0056 | Machine No.34 | Production Hall | Gnd Floor
|  |  |  | Environment - 0057 | Machine No.5 | Production Hall | Gnd Floor
|  |  |  | Environment - 0058 | Machine No.50 | Production Hall | Gnd Floor
|  |  |  | Environment - 0059 | Machine No.7 | Production Hall | Gnd Floor
|  |  |  | Environment - 0060 | Machine No.31 | Production Hall | Gnd Floor
|  |  |  | Environment - 0061 | Machine No.6 | Production Hall | Gnd Floor
|  |  |  | Environment - 0062 | Ambeint | Ambeint | Gnd Floor
|  |  |  | Environment - 0063 | Dryer Area 1 | Capsule | Gnd Floor
|  |  |  | Environment - 0064 | Visual Area | Capsule | Gnd Floor

## Barbeque Nations
Company Name | Station ID | Station Name | Communication Id | Meters | Utility | Location | Location Group | Remarks
Barbeque Nations

## Bharat Petrolum Pvt Ltd
Company Name | Station ID | Station Name | Communication Id | Meters | Utility | Location | Location Group | Remarks
Bharat Petrolum Pvt Ltd | 1 | IN-TG-HYD-SR1-0001-Hydrabad | 2020000052 | Dispenser Sales - 0001 | Dispenser AD blue | Forecourt | Outlet
| 2 | IN-GJ-AHM-WR2-0002-Gujarat | 2021000001 | Dispenser Sales - 0001 | 10W/30 | Forecourt | Outlet

## Carkhana
Company Name | Station ID | Station Name | Communication Id | Meters | Utility | Location | Location Group | Remarks
Carkhana | CK01 | IN-TG-HYD-SR1-CK01-Banjara Hills | 2017000030 | Electricity - 0001 | Mayuri Pan | Main Panel | GND Floor
|  |  |  | Electricity - 0002 | Milk Shakes | Main Panel | GND Floor
|  |  |  | Electricity - 0003 | Little Idly | Main Panel | GND Floor
|  |  |  | Electricity - 0004 | Halal Republic | Main Panel | GND Floor
|  |  |  | Electricity - 0005 | HYD Chaska | Main Panel | GND Floor
|  |  |  | Electricity - 0006 | Common Area | Main Panel | GND Floor
|  |  |  | Electricity - 0009 | Patiala EXP | Main Panel | GND Floor
|  |  |  | Electricity - 0010 | Chinese Dragon | Main Panel | GND Floor
|  |  |  | Electricity - 0011 | The Grill Box | Main Panel | GND Floor
|  |  |  | Electricity - 0014 | Tea Planet | Main Panel | GND Floor
|  |  |  | Electricity - 0015 | EB | Main Panel | GND Floor

## Cinepolis India Ltd
Company Name | Station ID | Station Name | Communication Id | Meters | Utility | Location | Location Group | Remarks
Cinepolis India Ltd | DL01 | IN-DL-DLH-NR1-DL01-Delhi | 2020000047 | Electricity - 0001 | Main_1 | ProjectionLevel | 1st Floor
|  |  |  | Electricity - 0002 | Main_2 | ProjectionLevel | 1st Floor

## ColdStar Logistics Pvt Ltd
Company Name | Station ID | Station Name | Communication Id | Meters | Utility | Location | Location Group | Remarks
ColdStar Logistics Pvt Ltd | 1 | IN-MH-MUM-WR1-0001-Panvel ColdStar | 2021000019 | Cold Room_IP2 - 0001 | Cold Storage | Cold Room | Gnd Floor

## Development
Company Name | Station ID | Station Name | Communication Id | Meters | Utility | Location | Location Group | Remarks
Development | DEVL | IN-TG-HYD-DEV-DEVL-Development | 2021000019 | Cold Room_IP2 - 0001 | Cold Storage | Cold Room | Gnd Floor

## Dominos Pizza
Company Name | Station ID | Station Name | Communication Id | Meters | Utility | Location | Location Group | Remarks
Dominos Pizza | JF01 | IN-DL-DLH-NCR-JF01-Jankpuri | 2019000103 | LPG - 0052 | LPG | Gas Bank | Basement
| PN01 | IN-TG-HYD-SR1-PN01-Pragathi Nagar | 2020000043 | LPG - 0052 | LPG | Kitchen | First Floor
|  |  |  | HVAC - 0256 | AC | Routing Stand A | First Floor
|  |  |  | HVAC - 0257 | AC | Slab Table Ac | First Floor
|  |  |  | HVAC - 0258 | AC | Entrance Ac -1 | First Floor
|  |  |  | HVAC - 0259 | AC | Entrance Ac -2 | First Floor
|  |  |  | HVAC - 0260 | AC | Entrance Ac -3 | First Floor
|  |  |  | HVAC - 0261 | AC | Make Line Ac | First Floor
|  |  |  | ColdStorage - 0054 | Cold Storage | Kitchen | First Floor
|  |  |  | Gas Bank Controller - 0053 | Gas Bank Mngt | Gas Bank | Basement

## Fairmont Building
Company Name | Station ID | Station Name | Communication Id | Meters | Utility | Location | Location Group | Remarks
Fairmont Building | JLL1 | IN-MH-MUM-WR1-JLL1-Fairmont Building | 2020000003 | Water Level - 0053 | UG Flush Tank | UG Flush Tank | UG
|  |  |  | Environment - 0052 | Indore Air Quality | JLL Office | Basement
|  |  |  | Fire Pump Monitor - 0054 | Fire Pump House | Fire Pump House | Basement

## Goudium School
Company Name | Station ID | Station Name | Communication Id | Meters | Utility | Location | Location Group | Remarks
Goudium School | GS01 | IN-TG-HYD-SR1-GS01-Kollur Campus | 2018000093 | Electricity - 0001 | Electricity | Mn_Incomer E-Bl | E - Block
|  |  |  | Electricity - 0002 | Electricity | Mn_Incomer D-Bl | D - Block
|  |  |  | Water Level - 0052 | Water Level | R O Tank | E - Block
|  |  |  | Water Level - 0053 | Water Level | Domestic Tank | E - Block
|  |  |  | Water Level - 0053 | Water Level | Flush WaterTank | E - Block
|  |  |  | Water Level - 0054 | Water Level | D R O WaterTank | D - Block
|  |  |  | Water Level - 0055 | Water Level | D_Domestic Tank | D - Block
|  |  |  | Water Level - 0055 | Water Level | D_Flush Tank | D - Block

## Glenmark Pharmaceuticals
Company Name | Station ID | Station Name | Communication Id | Meters | Utility | Location | Location Group | Remarks
Glenmark Pharmaceuticals | GP01 | IN-GA-CVE-WR1-GP01-Colvale Plant | 2020000054 | Electricity - 0001 | Dehumidifier-17 | AHU-17 | Plant-1
|  |  |  | Electricity - 0002 | Dehumidifier-27 | AHU-27 | Plant-2
|  |  |  | Environment - 0052 | AHU-17 | AHU-17 FBE 500 | 1st Floor
|  |  |  | Environment - 0053 | AHU-27 | AHU-27 Blister1 | 1st Floor
|  |  |  | AHU_GP - 0256 | AHU-17 | Plant 1 | 1st Floor
|  |  |  | AHU_GP - 0257 | AHU-27 | Plant 2 | 1st Floor

## GreenBox Cold Room Mfg
Company Name | Station ID | Station Name | Communication Id | Meters | Utility | Location | Location Group | Remarks
GreenBox Cold Room Mfg | 1 | IN-TG-HYD-SR1-0001-Sreeni Labs Pvt Ltd | 2020000050 | Cold Room_IP1 - 0001 | Ambient | Cold Storage | Material Bldg
|  |  |  | Cold Room_IP1 - 0001 | HVAC | Cold Storage | Material Bldg
|  |  |  | Cold Room_IP1 - 0001 | Machine-1 | Panel | Material Bldg
| CH01 | IN-TG-HYD-SR1-CH01-Churrlto-3 | 2020000046 | Cold Room_IP1 - 0001 | Ambient | Cold Room | Hot Kitchen-3
|  |  |  | Cold Room_IP1 - 0001 | Ambient | Freezer Room | Hot Kitchen-3
|  |  |  | Cold Room_IP1 - 0001 | HVAC | Cold Storage | Material Bldg
|  |  |  | Cold Room_IP1 - 0001 | Machine-1 | Panel | Hot Kitchen-3
|  |  |  | Cold Room_IP1 - 0001 | Machine-2 | Panel | Hot Kitchen-3
|  |  |  | Cold Room_IP1 - 0001 | Machine-3 | Panel | Hot Kitchen-3
| GC01 | IN-TG-HYD-SR1-GC01-Glow Chem | 2020000056 | Electricity - 0001 | HVAC | Cold Storage | Material Bldg
|  |  |  | Temperature - 0052 | Ambient-3 | Cold Storage | Material Bldg
|  |  |  | Temperature - 0052 | Machine-3 | Panel | Material Bldg
|  |  |  | Temperature - 0052 | Machine-4 | Panel | Material Bldg
|  |  |  | Temperature - 0053 | Ambient-4 | Cold Storage | Material Bldg
|  |  |  | Temperature - 0053 | Machine-5 | Panel | Material Bldg
|  |  |  | Temperature - 0054 | Ambient-2 | Cold Storage | Material Bldg
|  |  |  | Temperature - 0054 | Machine-2 | Panel | Material Bldg
|  |  |  | Temperature - 0054 | Machine-3 | Panel | Material Bldg
|  |  |  | Temperature - 0055 | Ambient-1 | Cold Storage | Material Bldg
|  |  |  | Temperature - 0055 | Machine-1 | Panel | Material Bldg
|  |  |  | Temperature - 0055 | Machine-2 | Panel | Material Bldg
|  |  |  | Status Monitor - 0056 | HVAC | Cold Storage | Material Bldg
|  |  |  | Status Monitor - 0056 | Machine-5 | Cold Storage | Material Bldg
|  |  |  | Status Monitor - 0057 | Machine-1 | Panel | Material Bldg
|  |  |  | Status Monitor - 0057 | Machine-2 | Panel | Material Bldg
|  |  |  | Status Monitor - 0057 | Machine-3 | Panel | Material Bldg
|  |  |  | Status Monitor - 0057 | Machine-4 | Panel | Material Bldg
| GC02 | IN-TG-HYD-SR1-GC02-Greenbox Hvac P Ltd | 2020000049 | Cold Room_IP1 - 0001 | Ambient | Cold Storage | Material Bldg
|  |  |  | Cold Room_IP1 - 0001 | Machine | Panel | Material Bldg
|  |  |  | Cold Room_IP1 - 0001 | Machine | Panel | Material Bldg
| VS01 | IN-TG-HYD-SR1-VS01-Vital synthetic | 2020000051 | Cold Room_IP1 - 0001 | Ambient | Cold Storage | Material Bldg
|  |  |  | Cold Room_IP1 - 0001 | HVAC | Cold Storage | Material Bldg
|  |  |  | Cold Room_IP1 - 0001 | Machine-1 | Panel | Material Bldg

## Happy Mobile
Company Name | Station ID | Station Name | Communication Id | Meters | Utility | Location | Location Group | Remarks
Happy Mobile | HM01 | IN-TG-HYD-SR1-HM01-Madhapur | 2020000051 | Cold Room_IP1 - 0001 | Ambient | Cold Storage | Material Bldg
|  |  |  | Cold Room_IP1 - 0001 | HVAC | Cold Storage | Material Bldg
|  |  |  | Cold Room_IP1 - 0001 | Machine-1 | Panel | Material Bldg

## Hindware
Company Name | Station ID | Station Name | Communication Id | Meters | Utility | Location | Location Group | Remarks
Hindware | HW01 | IN-TG-PTH-HYD-HW01-Isnapur | 2018000047 | Water Level - 0052 | Water Monitor | R.O Water | Over Head Tank
|  |  |  | Water Level - 0052 | Water Monitor | Raw Water | Over Head Tank
|  |  |  | Water Level - 0052 | Water Monitor | Reject Water | Over Head Tank
|  |  |  | Water Flow - 0053 | Water Monitor | Reject Water | Pump House
|  |  |  | Water Flow - 0054 | Water Monitor | R.O Water | Pump House
|  |  |  | Water Flow - 0055 | Water Monitor | Raw Water | Pump House
|  |  |  | Water Flow - 0056 | Water Monitor | UT_RO_FHRM | Pump House
|  |  |  | Water Flow - 0057 | Water Monitor | UT_RO_OH Tank | Pump House
|  |  |  | Water Flow - 0058 | Water Monitor | Borewell_2 | Pump House
|  |  |  | Water Flow - 0059 | Water Monitor | Borewell_1 | Pump House

## IBIS Hotels
Company Name | Station ID | Station Name | Communication Id | Meters | Utility | Location | Location Group | Remarks
IBIS Hotels | IH01 | IN-TG-HYD-SR1-IH01-Madhapur | 2019000144 | Water Flow - 0052 | Water Monitoring | Hydranmatic | Basement
|  |  |  | Water Flow - 0053 | Water Monitoring | Softener | Basement

## ICRISAT
Company Name | Station ID | Station Name | Communication Id | Meters | Utility | Location | Location Group | Remarks
ICRISAT | IC01 | IN-TG-HYD-SR1-IC01-Patencheru | 2019000052 | Temperature - 0052 | Temperature Monitor | FFC Room-R223/1 | Ground Floor
|  |  |  | Temperature - 0053 | Temperature Monitor | Resp Gene Bank | Ground Floor
|  |  |  | Temperature - 0054 | Temperature Monitor | Culture Room | Ground Floor
|  |  |  | Temperature - 0055 | Temperature Monitor | UPLC Room | Ground Floor
|  |  |  | Temperature - 0056 | Temperature Monitor | Cold Room | Ground Floor

## Indian Oil Corporation Ltd
Company Name | Station ID | Station Name | Communication Id | Meters | Utility | Location | Location Group | Remarks
Indian Oil Corporation Ltd | I001 | IN-KA-BGL-KA1-I001-State Office | 2019000052 | Temperature - 0052 | Temperature Monitor | FFC Room-R223/1 | Ground Floor
|  |  |  | Temperature - 0053 | Temperature Monitor | Resp Gene Bank | Ground Floor
|  |  |  | Temperature - 0054 | Temperature Monitor | Culture Room | Ground Floor
|  |  |  | Temperature - 0055 | Temperature Monitor | UPLC Room | Ground Floor
|  |  |  | Temperature - 0056 | Temperature Monitor | Cold Room | Ground Floor
| I002 | IN-KA-BGL-KA1-I002-Garden City | 9591490033 | Electricity - 0002 | Pump | Tank_1 | Outlet
|  |  |  | Electricity - 0002 | Pump | Tank_2 | Outlet
|  |  |  | Electricity - 0002 | Unloading Pumps | LPG Storage | Outlet
|  |  |  | Fuel Model_1 - 0019 | LPG Tank_1 | LPG Storage | Outlet
|  |  |  | Fuel Model_1 - 0020 | LPG Tank_2 | LPG Storage | Outlet
|  |  |  | Machine Rng Hrs - 0051 | Air Comp | Staff Room | Outlet
|  |  |  | Sales - 0052 | Sales | Nozzle_3 | Outlet
|  |  |  | Sales - 0053 | Sales | Nozzle_1 | Outlet
|  |  |  | Sales - 0054 | Sales | Nozzle_2 | Outlet
|  |  |  | Sales - 0055 | Sales | Nozzle_4 | Outlet
| I003 | IN-KA-BGL-KA1-I003-Bowring | 9591490033 | Electricity - 0002 | Pump | Tank_1 | Outlet
|  |  |  | Electricity - 0002 | Pump | Tank_2 | Outlet
|  |  |  | Electricity - 0002 | Unloading Pumps | LPG Storage | Outlet
|  |  |  | Fuel Model_1 - 0019 | LPG Tank_1 | LPG Storage | Outlet
|  |  |  | Fuel Model_1 - 0020 | LPG Tank_2 | LPG Storage | Outlet
|  |  |  | Machine Rng Hrs - 0051 | Air Comp | Staff Room | Outlet
|  |  |  | Sales - 0052 | Sales | Nozzle_3 | Outlet
|  |  |  | Sales - 0053 | Sales | Nozzle_1 | Outlet
|  |  |  | Sales - 0054 | Sales | Nozzle_2 | Outlet
|  |  |  | Sales - 0055 | Sales | Nozzle_4 | Outlet
| I004 | IN-KA-BGL-KA1-I004-Kalabhairava | 9591490033 | Electricity - 0002 | Pump | Tank_1 | Outlet
|  |  |  | Electricity - 0002 | Pump | Tank_2 | Outlet
|  |  |  | Electricity - 0002 | Unloading Pumps | LPG Storage | Outlet
|  |  |  | Fuel Model_1 - 0019 | LPG Tank_1 | LPG Storage | Outlet
|  |  |  | Fuel Model_1 - 0020 | LPG Tank_2 | LPG Storage | Outlet
|  |  |  | Machine Rng Hrs - 0051 | Air Comp | Staff Room | Outlet
|  |  |  | Sales - 0052 | Sales | Nozzle_3 | Outlet
|  |  |  | Sales - 0053 | Sales | Nozzle_1 | Outlet
|  |  |  | Sales - 0054 | Sales | Nozzle_2 | Outlet
|  |  |  | Sales - 0055 | Sales | Nozzle_4 | Outlet
| I005 | IN-KA-BGL-KA1-I005-LPG Plant Mysore | 2017000044 | Electricity - 0002 | Gearbox_1 | Main | Main Panel
|  |  |  | Electricity - 0003 | Gearbox_2 | Main | Main Panel
|  |  |  | Temperature - 0052 | Temperature Monitor | Front Office | 1st Floor
|  |  |  | Status Meter - 0250 | LOP SW | Fire Pump Engin | Fire Pump House
|  |  |  | Status Meter - 0250 | Water Temp SW | Fire Pump Engin | Fire Pump House
|  |  |  | Fire Pump - 0054 | Fire Pump_3 | Fire Pump Engin | Fire Pump House
| I006 | IN-KA-BGL-KA1-I006-Vijaya Ser_Stn | 2017000044 | Electricity - 0002 | Gearbox_1 | Main | Main Panel
|  |  |  | Electricity - 0003 | Gearbox_2 | Main | Main Panel
|  |  |  | Temperature - 0052 | Temperature Monitor | Front Office | 1st Floor
|  |  |  | Status Meter - 0250 | LOP SW | Fire Pump Engin | Fire Pump House
|  |  |  | Status Meter - 0250 | Water Temp SW | Fire Pump Engin | Fire Pump House
|  |  |  | Fire Pump - 0054 | Fire Pump_3 | Fire Pump Engin | Fire Pump House
| I007 | IN-KA-BGL-KA1-I007-Bhargavi Motors | 2017000062 | Electricity - 0002 | Pump | Tank_1 | Outlet
|  |  |  | Electricity - 0002 | Pump | Tank_2 | Outlet
|  |  |  | Electricity - 0002 | Unloading Pumps | LPG Storage | Outlet
| I008 | IN-KA-BGL-KA1-I008-Hitech Ser_Stn | 2017000062 | Electricity - 0002 | Pump | Tank_1 | Outlet
|  |  |  | Electricity - 0002 | Pump | Tank_2 | Outlet
|  |  |  | Electricity - 0002 | Unloading Pumps | LPG Storage | Outlet

## JC Residency
Company Name | Station ID | Station Name | Communication Id | Meters | Utility | Location | Location Group | Remarks
JC Residency | JC01 | IN-TN-MDU-SR1-JC01-Madurai | 2018000091 | Water Flow - 0052 | Corp Water | Main | Ground Floor
|  |  |  | Water Flow - 0053 | Over Head Tank | Over Head Tank | Terrace
|  |  |  | Water Flow - 0054 | RO Water | RO Plant | Kitchen

## JWL Cold Storage Pvt Ltd
Company Name | Station ID | Station Name | Communication Id | Meters | Utility | Location | Location Group | Remarks
JWL Cold Storage Pvt Ltd | 1 | IN-TG-HYD-SR1-0001-Neelamangala | 2021000018 | Cold Room_IP2 - 0001 | Cold Storage | Cold Room | Ground Floor

## Kansolv Tech
Company Name | Station ID | Station Name | Communication Id | Meters | Utility | Location | Location Group | Remarks
Kansolv Tech | KANC | IN-TG-HYD-CAN-KANC-KANS | 2021000018 | Cold Room_IP2 - 0001 | Cold Storage | Cold Room | Ground Floor
| KANS | IN-TG-HYD-CAN-KANS-Kansolv | 2021000018 | Cold Room_IP2 - 0001 | Cold Storage | Cold Room | Ground Floor
| DEVL | IN-TG-HYD-TST-DEVL-Development | 2021000018 | Cold Room_IP2 - 0001 | Cold Storage | Cold Room | Ground Floor

## Kauvery Hospital
Company Name | Station ID | Station Name | Communication Id | Meters | Utility | Location | Location Group | Remarks
Kauvery Hospital | KH01 | IN-TN-TRH-SRC-KH01-Cantonment | 2018000094 | Fuel Model_2 - 0051 | Diesel Generator | 380 KVA | DG Room
|  |  |  | Fuel Model_2 - 0052 | Diesel Generator | 250 KVA | DG Room
|  |  |  | HVAC - 0256 | AHU | MRI Scan | Basement
|  |  |  | HVAC - 0257 | AHU | MRI 2 | Basement
|  |  |  | HVAC - 0258 | AHU | Conference Hall | Basement
|  |  |  | HVAC - 0259 | AHU | Triage | Ground Floor
|  |  |  | HVAC - 0260 | AHU | CT Scan | Ground Floor
|  |  |  | HVAC - 0261 | AHU | Dialysis | Ground Floor
|  |  |  | HVAC - 0262 | AHU | NICU 1 | 2nd Floor
|  |  |  | HVAC - 0263 | AHU | NICU 3 | 2nd Floor
|  |  |  | HVAC - 0264 | AHU | OT 2 | 3rd Floor
|  |  |  | HVAC - 0265 | AHU | OT 1 | 3rd Floor
|  |  |  | HVAC - 0266 | AHU | Labour Ward | 3rd Floor
|  |  |  | HVAC - 0267 | AHU | OT 5 | 3rd Floor
|  |  |  | HVAC - 0268 | AHU | OT 4 | 3rd Floor
|  |  |  | HVAC - 0269 | AHU | OT 3 | 3rd Floor
|  |  |  | HVAC - 0270 | AHU | OT Passage | 3rd Floor
|  |  |  | HVAC - 0271 | AHU | POW | 3rd Floor
|  |  |  | HVAC - 0272 | AHU | Blood Bank RC7 | 5th Floor
|  |  |  | HVAC - 0273 | AHU | Blood Bank 10 | 5th Floor
|  |  |  | HVAC - 0274 | AHU | IMCU | 5th Floor
|  |  |  | HVAC - 0275 | AHU | NICU | 5th Floor
|  |  |  | HVAC - 0276 | AHU | PICU | 5th Floor
|  |  |  | HVAC - 0277 | AHU | LICU | 5th Floor
|  |  |  | HVAC - 0278 | AHU | PIMCU | 5th Floor
|  |  |  | HVAC - 0279 | AHU | ICU | 5th Floor
|  |  |  | HVAC - 0280 | AHU | MD Room | 6th Floor
|  |  |  | Environment - 0055 | Environment | OT 2 | 3rd Floor

## Kayempee Foods Pvt Ltd
Company Name | Station ID | Station Name | Communication Id | Meters | Utility | Location | Location Group | Remarks
Kayempee Foods Pvt Ltd | KM01 | IN-TG-HYD-SR1-KM01-Medchal | 2020000035 | Electricity - 0001 | Cold Room | Gnd Floor | Unit-1
|  |  |  | Temperature - 0053 | Cold Room | Gnd Floor | Unit-1
|  |  |  | HVAC - 0256 | AHU | Gum Plant | 2nd Floor
|  |  |  | Environment - 0052 | Gum Plant | Gum Plant | 2nd Floor

## MGM Health Care
Company Name | Station ID | Station Name | Communication Id | Meters | Utility | Location | Location Group | Remarks
MGM Health Care | CH01 | IN-TN-CHN-TN1-CH01-MGM Hospital | 2019000056 | Electricity - 0001 | Transformer-1 | Substation Room | 1st Floor
|  |  |  | Electricity - 0002 | Transformer-2 | Substation Room | 1st Floor
|  |  |  | Electricity - 0003 | BVP Panel | Mains Panel | 1st Floor
|  |  |  | Electricity - 0004 | PHE & STP Panel | Mains Panel | 1st Floor
|  |  |  | Electricity - 0005 | Utility Panel-1 | Mains Panel | 1st Floor
|  |  |  | Electricity - 0006 | Utility Panel-2 | Mains Panel | 1st Floor
|  |  |  | Electricity - 0007 | HVAC Panel-1 | Mains Panel | 1st Floor
|  |  |  | Electricity - 0008 | HVAC Panel-2 | Mains Panel | 1st Floor
|  |  |  | Electricity - 0009 | DG1 | Mains Panel | 1st Floor
|  |  |  | Electricity - 0010 | DG2 | Mains Panel | 1st Floor
|  |  |  | Electricity - 0011 | STP Room | Mains Panel | 1st Floor
|  |  |  | Electricity - 0012 | UPS-1 | Mains Panel | 1st Floor
|  |  |  | Electricity - 0013 | UPS-2 | Mains Panel | 1st Floor
|  |  |  | Electricity - 0014 | UPS-3 | Mains Panel | 1st Floor
|  |  |  | Electricity - 0015 | UPS-4 | Mains Panel | 1st Floor
|  |  |  | Electricity - 0016 | Fire Fight Panel | Mains Panel | 1st Floor
|  |  |  | Electricity - 0017 | External FP-1 | Mains Panel | 1st Floor
|  |  |  | Electricity - 0018 | External FP-2 | Mains Panel | 1st Floor
|  |  |  | Electricity - 0019 | Medical Gas System | Mains Panel | 1st Floor
|  |  |  | Electricity - 0020 | VTPN-LTG & RP | Mains Panel | 1st Floor
|  |  |  | Electricity - 0021 | Lift01 | Mains Panel | 1st Floor
|  |  |  | Electricity - 0022 | MSPP-1 | Mains Panel | 1st Floor
|  |  |  | Electricity - 0023 | MSPP-2 | Mains Panel | 1st Floor
|  |  |  | Electricity - 0024 | MSPP-3 | Mains Panel | 1st Floor
|  |  |  | Electricity - 0025 | MSPP-4 | Mains Panel | 1st Floor
|  |  |  | Electricity - 0026 | Laundry | Mains Panel | 1st Floor
|  |  |  | Electricity - 0027 | MSPP-6 | Mains Panel | 1st Floor
|  |  |  | Electricity - 0028 | BVPUB | Mains Panel | 1st Floor
|  |  |  | Electricity - 0029 | MSPP-5 | Mains Panel | 1st Floor
|  |  |  | Electricity - 0030 | Basement PDB | Mains Panel | 1st Floor
|  |  |  | Electricity - 0031 | VTPN-UPS-LTG-UB | Mains Panel | 1st Floor
|  |  |  | Electricity - 0032 | Raising Main-1 | Mains Panel | 1st Floor
|  |  |  | Electricity - 0033 | Raising Main-2 | Mains Panel | 1st Floor
|  |  |  | Electricity - 0034 | Chiller | Mains Panel | 1st Floor
|  |  |  | Water Level - 0052 | Treated Water | Treated Water | Ground Floor
|  |  |  | Water Level - 0053 | Raw Water Tank | Raw Water Tank | Ground Floor
|  |  |  | Water Level - 0054 | Fire water Sump | Fire Water Sump | Ground Floor
|  |  |  | Rest Room Monitor - 0230 | Rest Room Monitor | Gents Rest Room | 1st Floor
|  |  |  | Environment - 0055 | Indoor Air | Neuro ICU | 6th floor
|  |  |  | Environment - 0056 | Indoor Air | Neuro ICU | 3rd Floor
|  |  |  | Environment - 0057 | Indoor Air | SICU | 3rd Floor
|  |  |  | Environment - 0058 | Indoor Air | HDU | 3rd Floor

## Myhomes
Company Name | Station ID | Station Name | Communication Id | Meters | Utility | Location | Location Group | Remarks
Myhomes | MH01 | IN-TG-HYD-SR1-MH01-Vihanga | 2019000037 | Water Level - 0053 | Water Level Monitor | DT_5-10/11-16 | Vihanga
|  |  |  | Water Level - 0055 | Water Level Monitor | DT_1-4/27-20 | Vihanga
|  |  |  | Water Level - 0056 | Water Level Monitor | CT_13-16 | Vihanga
|  |  |  | Water Level - 0057 | Water Level Monitor | CT_17-20 | Vihanga
|  |  |  | Water Level - 0058 | Water Level Monitor | CT_11-12 | Vihanga
|  |  |  | Water Level - 0059 | Water Level Monitor | CT_1-6 | Vihanga
|  |  |  | Water Level - 0060 | Water Level Monitor | CT_8-10 | Vihanga

## Nandi Toyota
Company Name | Station ID | Station Name | Communication Id | Meters | Utility | Location | Location Group | Remarks
Nandi Toyota | CO01 | IN-KA-BGL-SR1-CO01-Corporate Office | 2019000039 | Electricity - 0001 | EB | Main | Ground Floor
|  |  |  | Electricity - 0002 | Electricity | DG Main | Ground Floor
|  |  |  | Fuel Model_2 - 0051 | Diesel Generator | DG Room | Ground Floor
|  |  |  | Water Level - 0052 | Water Level | Water | Ground Floor
|  |  |  | HVAC - 0256 | AHU | HR Room | Ground Floor
|  |  |  | HVAC - 0257 | AHU | Call Centre | Ground Floor
|  |  |  | HVAC - 0258 | AHU | Co - Office | Ground Floor
|  |  |  | HVAC - 0259 | AHU | Sales Office | Ground Floor
|  |  |  | HVAC - 0260 | AHU | Delivery Bay | Ground Floor
|  |  |  | HVAC - 0261 | AHU | Office Room | Ground Floor
|  |  |  | HVAC - 0262 | AHU | Reception_1 | Ground Floor
|  |  |  | HVAC - 0263 | AHU | Reception_2 | Ground Floor
| WS01 | IN-KA-BGL-SR1-WS01-Hosur Workshop | 2019000040 | Electricity - 0001 | EB | Main | Ground Floor
|  |  |  | Electricity - 0002 | Electricity | DG Main | Ground Floor
|  |  |  | Fuel Model_2 - 0051 | Diesel Generator | DG Room | Ground Floor
|  |  |  | Water Level - 0052 | Water Level | Water | Ground Floor
|  |  |  | HVAC - 0256 | AHU | Cust_Lounge_1 | Ground Floor
|  |  |  | HVAC - 0257 | AHU | Cust_Lounge_2 | Ground Floor
|  |  |  | HVAC - 0258 | AHU | Front office | Ground Floor

## Nanjappa Hospital
Company Name | Station ID | Station Name | Communication Id | Meters | Utility | Location | Location Group | Remarks
Nanjappa Hospital | NJ01 | IN-KA-SME-WR1-NJ01-Durgigudi | 2020000029 | Environment - 0052 | Indoor Air | PET CT Room | GND Floor
|  |  |  | HVAC1 Control Data - 0258 | HVAC | Console CSU | GND Floor
|  |  |  | HVAC1 Control Data - 0259 | HVAC | PET WaitingArea | GND Floor
|  |  |  | HVAC1 Control Data - 0260 | HVAC | PET CSU-2 | 1st Floor
|  |  |  | HVAC1 Control Data - 0262 | HVAC | PET CSU-1 | GND Floor
|  |  |  | HVAC1 Control Data - 0263 | HVAC | PET CSU-2 | GND Floor

## Narayana Health
Company Name | Station ID | Station Name | Communication Id | Meters | Utility | Location | Location Group | Remarks
Narayana Health | 1 | IN-KA-BGL-SRK-0001-NI cardiac Sciences | 2018000081 | Environment - 0052 | Air Quality | OT_01 | 1st Floor
|  |  |  | Environment - 0053 | Air Quality | OT_02 | 1st Floor
|  |  |  | Environment - 0054 | Air Quality | OT_03 | 1st Floor
|  |  |  | Environment - 0055 | Air Quality | OT_04 | 1st Floor
|  |  |  | Environment - 0056 | Air Quality | OT_05 | 1st Floor
|  |  |  | Environment - 0057 | Air Quality | OT_06 | 2nd Floor
|  |  |  | Environment - 0058 | Air Quality | OT_07 | 2nd Floor
|  |  |  | Environment - 0059 | Air Quality | OT_08 | 2nd Floor
|  |  |  | Environment - 0060 | Air Quality | OT_09 | 2nd Floor
|  |  |  | Environment - 0061 | Air Quality | OT_10 | 2nd Floor
|  |  |  | Environment - 0062 | Air Quality | OT_11 | 3rd Floor
|  |  |  | Environment - 0063 | Air Quality | OT_12 | 3rd Floor
|  |  |  | Environment - 0064 | Air Quality | OT_13 | 3rd Floor
|  |  |  | Environment - 0065 | Air Quality | OT_14 | 3rd Floor
|  |  |  | Environment - 0066 | Air Quality | OT_15 | 3rd Floor
|  |  |  | Environment - 0067 | Air Quality | OT_19 | 4th Floor
|  |  |  | Environment - 0068 | Air Quality | OT_20 | 4th Floor
|  |  |  | Environment - 0069 | Air Quality | Cath Lab 5 | 4th Floor

## Novotel Hotels
Company Name | Station ID | Station Name | Communication Id | Meters | Utility | Location | Location Group | Remarks
Novotel Hotels | NT02 | IN-AP-VZG-NT01-Hitec City | 2018000035 | Electricity - 0001 | Chiller Plant | Main Panel | Electrical Room
|  |  |  | Electricity - 0002 | Lobby AHU | Main Panel | 1st Floor
|  |  |  | HVAC - 0256 | HVAC | Lobby | 1st Floor

## Oberoi Group
Company Name | Station ID | Station Name | Communication Id | Meters | Utility | Location | Location Group | Remarks
Oberoi Group | TH01 | IN-TG-HYD-SR1-TH01-Trident Hotel Hyderabad | 2020000015 | Electricity - 0001 | Transformer-1 | Substation Room | Main Panel
|  |  |  | Electricity - 0002 | Transformer-2 | Substation Room | Main Panel
|  |  |  | Electricity - 0003 | DG_1 1450-KVA | DG AUX Panel | Main Panel
|  |  |  | Electricity - 0004 | DG_2 1450-KVA | DG AUX Panel | Main Panel
|  |  |  | Electricity - 0005 | Chiller Panel-1 | AC | Main Panel
|  |  |  | Electricity - 0006 | Chiller Panel-2 | AC | Main Panel
|  |  |  | Electricity - 0007 | HVAC Panel BOH | AC | Main Panel
|  |  |  | Electricity - 0008 | Raising Main-1 | Guest room | Main Panel
|  |  |  | Electricity - 0009 | Raising Main-2 | Guest room | Main Panel
|  |  |  | Electricity - 0010 | Lighting_Panel | Lighting | Main Panel
|  |  |  | Electricity - 0011 | Power Panel 96 | PP & BOH | Main Panel
|  |  |  | Electricity - 0012 | Power Panel BOH | PP & BOH | Main Panel
|  |  |  | Electricity - 0013 | Data Center-1 | UPS & Data Cent | Main Panel
|  |  |  | Electricity - 0014 | Data Center-2 | UPS & Data Cent | Main Panel
|  |  |  | Electricity - 0015 | 80 KVA UPS-1 | UPS & Data Cent | Main Panel
|  |  |  | Electricity - 0016 | 80 KVA UPS-2 | UPS & Data Cent | Main Panel
|  |  |  | Electricity - 0017 | Lift Pnl Trc S1 | Elevators | Main Panel
|  |  |  | Electricity - 0018 | Lift Pnl Trc S2 | Elevators | Main Panel
|  |  |  | Electricity - 0019 | Lift Pnl 91LVl S1 | Elevators | Main Panel
|  |  |  | Electricity - 0020 | Lift Pnl 91 LVl S2 | Elevators | Main Panel
|  |  |  | Electricity - 0021 | Plumbing Panel | Plumbing | Main Panel
|  |  |  | Electricity - 0022 | 40 KVA UPS Pnl | UPS & Data Cent | Main Panel
|  |  |  | Electricity - 0023 | 40 KVA By Pnl | Lighting | Main Panel
|  |  |  | Electricity - 0024 | 74Axial Exh Fan | Ventilation | Main Panel
|  |  |  | Electricity - 0025 | 77Axial Exh Fan | Ventilation | Main Panel
|  |  |  | Electricity - 0026 | BASMENT JET FANS | Ventilation | Main Panel
|  |  |  | Electricity - 0027 | AHU VentFan81Lv | Ventilation | Main Panel
|  |  |  | Electricity - 0028 | ST1 Vent Trc | Ventilation | Main Panel
|  |  |  | Electricity - 0029 | SPA & GYM | Spa & Gym | Main Panel
|  |  |  | Electricity - 0030 | Main Kit Pnl-1 | Kitchen | Main Panel
|  |  |  | Electricity - 0031 | Main Kit Pnl-2 | Kitchen | Main Panel
|  |  |  | Electricity - 0032 | Ind Kitchen Pnl | Kitchen | Main Panel
|  |  |  | Electricity - 0033 | DG Aux Pnl-1 | DG AUX Panel | Main Panel
|  |  |  | Electricity - 0034 | DG Aux Pnl-2 | DG AUX Panel | Main Panel
|  |  |  | Electricity - 0035 | Fire FightPanel | Plumbing | Main Panel
|  |  |  | Electricity - 0036 | Ball RM Panel | Ball Room | Main Panel
|  |  |  | Electricity - 0037 | Laundry Panel | Laundry | Main Panel
|  |  |  | Electricity - 0038 | OWC | Mains Panel | Main Panel
|  |  |  | Electricity - 0039 | GJHL | Lighting | Main Panel
|  |  |  | Temperature - 0053 | Temperature Monitor | BAKDF5 | P4
|  |  |  | Temperature - 0054 | Temperature Monitor | BAKPASWK12 | P4
|  |  |  | Temperature - 0055 | Temperature Monitor | GMANWK11 | P4
|  |  |  | Temperature - 0056 | Temperature Monitor | MKITDF4 | P4
|  |  |  | Temperature - 0057 | Temperature Monitor | MKITWK10 | P4
|  |  |  | Temperature - 0058 | Temperature Monitor | KANKWK14 | P4
|  |  |  | Temperature - 0059 | Temperature Monitor | SBARWK9 | P4
|  |  |  | Temperature - 0060 | Temperature Monitor | TUSCDF6 | P6
|  |  |  | Temperature - 0061 | Temperature Monitor | AMARWK15 | P5
|  |  |  | Temperature - 0062 | Temperature Monitor | TUSCWK16 | P4
|  |  |  | Temperature - 0068 | Temperature Monitor | WGARBWK7 | P1
|  |  |  | Temperature - 0069 | Temperature Monitor | WINEWK5 | P1
|  |  |  | Temperature - 0070 | Temperature Monitor | DAIRYDF1 | P1
|  |  |  | Temperature - 0071 | Temperature Monitor | DAIRYWK2 | P1
|  |  |  | Temperature - 0072 | Temperature Monitor | SEAFDF3 | P1
|  |  |  | Temperature - 0073 | Temperature Monitor | SEAFWK4 | P1
|  |  |  | Temperature - 0074 | Temperature Monitor | MEATDF2 | P1
|  |  |  | Temperature - 0075 | Temperature Monitor | MEATWK3 | P1
|  |  |  | Temperature - 0076 | Temperature Monitor | MYSPWK8 | P3
|  |  |  | Temperature - 0077 | Temperature Monitor | FLOWWK6 | P1
|  |  |  | Temperature - 0079 | Temperature Monitor | CRPHE Out_Temp | P3
|  |  |  | Temperature - 0079 | Temperature Monitor | CRPHE_In Temp | P3
|  |  |  | Temperature - 0084 | Temperature Monitor | VEGWK1 | P1
|  |  |  | LPG - 0081 | LPG | LPG Meter-1 | P3
|  |  |  | LPG - 0082 | LPG | LPG Meter-2 | P3
HVAC - 0261
HVAC - 0262
HVAC - 0263
HVAC - 0264
HVAC - 0265
HVAC - 0266
HVAC - 0267
HVAC - 0268
HVAC - 0269
Water Flow - 0083
ColdStorage - 0078
Pressure - 0080