## Running Installations
Meters | Utility Name | Location Name | Location Group | Gateway | 2022-02-09 | 2022-02-10 | 2022-02-11 | 2022-02-12 | 2022-02-13 | 2022-02-14 | 2022-02-15 | 2022-02-16 | 2022-02-17 | 2022-02-18 | 2022-02-19 | 2022-02-20 | 2022-02-21 | 2022-02-22 | 2022-02-23 | 2022-02-24 | 2022-02-25 | 2022-02-26 | 2022-02-27 | 2022-02-28
256 | AHU_42_CCHD | Granulation-02 | Mazanine Fl. SA | 1
257 | AHU_78_CCH | Electrical Room | Engineering | 1
258 | AHU_43_CCD | Granules Quar. | Mazanine Fl. SA | 1
259 | AHU_46_CC | Tab. Pack. Hall | Deck Slab S A | 1
264 | AHU_05_CC | Ointment Mfg-1 | Manufacturing | 4
265 | AHU_06_CC | Ointment Mfg-2 | Manufacturing | 4
266 | AHU_07_CC | Ointment Mfg-3 | Manufacturing | 4
267 | AHU_08_CC | OintmentFilng-1 | Manufacturing | 4
268 | AHU_10_CC | OintmentFilng-3 | Manufacturing | 4
269 | AHU_11_CC | Ointment Cor. | Manufacturing | 4
272 | AHU_56_CC | KM Ctrl. Sample | Manufacturing | 5
273 | AHU_67_CC | QA DocumentRoom | Common Facility | 5
274 | AHU_60_CC | FF Corridor-4 | Common Facility | 5
281 | AHU_44_CC | Tablet Corridor | Manufacturing | 6
286 | AHU_15_CCH | Lotion Filling | Packing | 7
287 | AHU_17_CCH | Lotion Pack. Hl | Packing | 7
289 | AHU_47_CCH | Blister - 01 | Common Facility | 7
296 | AHU_77_CCH | Instr. Room -I | Common Facility | 8
306 | AHU_73_CCH | S Mfg. 2 | Manufacturing | 9
307 | AHU_74_CCH | S Mfg. 1 | Manufacturing | 9
308 | AHU_75_CCH | S Dispensing | Common Facility | 9
309 | AHU_62_CC | Old Basement | Common Facility | 9
310 | AHU_63_CC | Change Room FF | Common Facility | 9
330 | AHU_04_CC | Bottle&PPM Str | Common Facility | 11
332 | AHU_16_CCH | FF Common Cor 1 | Common Facility | 11
333 | AHU_33_CC | Gnd Floor Cor. | Common Facility | 12
334 | AHU_64_CC | Pri. P&F Store | Common Facility | 12
335 | AHU_59_CC | Disp. Mat. Hold | Packing | 12
336 | AHU_25_CCH | Powder Mfg. | Manufacturing | 12
337 | AHU_26_CCH | Powder Filling | Packing | 12
260 | AHU_36_DXHD | Blending-01 | Deck Slab S A | 1
261 | AHU_54_DXH | Tablet Inspectn | Deck Slab S A | 1
262 | AHU_34_DXD | Compression-04 | Deck Slab S A | 1
263 | AHU_29_DX | Liquid Mfg Area | Boiler House SA | 1
270 | AHU_09_DX | OintmentFilng-2 | Manufacturing | 4
291 | AHU_23_DX | Instr.Room-II | Common Facility | 7
293 | AHU_28_DX | Powder Pack. Ar | Packing | 7
294 | AHU_30_DX | Shampoo Mfg. | Manufacturing | 7
301 | AHU_55_DX | FF Corridor-3 | Common Facility | 8
314 | EN/AHU_32_DX | NewBasemntStore | Common Facility | 10
315 | EN/AHU_35_DX | Dispensing-1 | Manufacturing | 10
316 | EN/AHU_36_DX | Dispensing-2 | Manufacturing | 10
317 | EN/AHU_38_DX | Dispensing-4 | Manufacturing | 10
318 | EN/AHU_39_DX | Liq. SolventDis | Packing | 10
320 | EN/AHU_61_DX | RM Wash Area | Common Facility | 10
321 | EN/AHU_37_DXH | Dispensing-3 | Manufacturing | 10
322 | EN/AHU_40_DX | Sampling | Common Facility | 10
326 | AHU_18_DX | Lotion Quar. | Packing | 11
327 | AHU_19_DX | QCMicroAreaInc. | Common Facility | 11
329 | AHU_21_DX | Instr.Room-III | Common Facility | 11
338 | AHU_58_DX | Sugar Loading | Common Facility | 12
275 | AHU_38_CCH | Granulation-01 | Mazanine Fl. SA | 5
277 | AHU_40_CCH | Compression -02 | Mazanine Fl. SA | 5
297 | AHU_70_CCH | S Filling 1 | Packing | 8
298 | AHU_68_CCH | S Packing | Packing | 8
299 | AHU_69_CCH | S Filling 2 | Packing | 8
290 | AHU_13_DX | Ointment Cl.Cor | Manufacturing | 7
292 | AHU_32_DX | Shampoo Quar. | Packing | 7
295 | AHU_31_DXH | Shampoo Filling | Packing | 7
302 | AHU_57_DXH | Pri. PM Samplng | Common Facility | 8
304 | AHU_49_DXH | Strip -02 | Common Facility | 8
324 | AHU_02_DX | Liq. Filling Ar | Packing | 11
276 | AHU_39_CCH | Compression -01 | Deck Slab S A | 5
288 | AHU_45_CCH | Blister -02 | Common Facility | 7
278 | AHU_41_CCD | Compression -03 | Mazanine Fl. SA | 5
271 | AHU_12_DX | Ointment Quar. | Manufacturing | 4
284 | AHU_52_DXHD | Jar Filling | Deck Slab S A | 6
331 | AHU_14_CCH | Lotion Mfg. | Manufacturing | 11
323 | AHU_01_DX | Liquid Mfg Area | Manufacturing | 11
325 | AHU_03_DX | Bottle Loading | Common Facility | 11
339 | AHU_66_DX | GF Change Room | Common Facility | 12
279 | AHU_50_CCD | Capsule Filling | Packing | 6
280 | AHU_35_CCH | Coating AHU | Deck Slab S A | 6
305 | AHU_72_CCH | S CleanCorridor | Common Facility | 9
282 | AHU_37_DXH | Blending -02 | Deck Slab S A | 6
313 | AHU_71_DXH | S Quarantine | Packing | 9
300 | AHU_48_CCHD | Strip -01 | Common Facility | 8
283 | AHU_51_DXHD | Tablet Quar. | Common Facility | 6
285 | AHU_53_DX | FF Corridor-2 | Common Facility | 6
340 | AHU_27_DXH | Powder Quar. Ar | Packing | 12
312 | AHU_76_CCD | Fin. GoodsStore | Common Facility | 9
319 | EN/AHU_43_DX | RM Receipt | Common Facility | 10
303 | EN/AHU_22_DX | Ground Floor | Ground Floor SA Near DG | 8
311 | AHU_65_CC | Finished Pr Reserve Sample | QA terrace SA | 9
328 | AHU_20_DX | QC Micro Testing Room | LT Panel To Boiler House SA | 11
[9 empty] | Color Identitification | Remarks
MCB Off
Communication Issue With Module
Communication OK
Communication issue from server
Network Signal Issue

## Permanent supply
AHU Number | AHU Location | ID | TYPE | AHU | Gateway | 2021-12-28 | 2021-12-29
AHU-03 | Bottle Loading Area | 325 | DX | AHU_03_DX | 11 | OK | AHU_03_DX
AHU-04 | PPM store | 330 | CC | AHU_04_CC | 11 | OK | AHU_04_CC
AHU-05 | Ointment Manufacturing-01 | 264 | C.C | AHU_05_CC | 4 | MCB OFF | #N/A
AHU-06 | Ointment Manufacturing-02 | 265 | C.C | AHU_06_CC | 4 | OK | AHU_06_CC
AHU-07 | Ointment Manufacturing-03 | 266 | C.C | AHU_07_CC | 4 | OK | AHU_07_CC
AHU-12 | Ointment Quarantine | 271 | DX | AHU_12_DX | 4 | OK | AHU_12_DX
AHU-14 | Lotion Manufacturing | 331 | C.C.H | AHU_14_CCH | 11 | OK | AHU_14_CCH
AHU-15 | Lotion Filling | 286 | C.C.H | AHU_15_CCH | 7 | MCB OFF | #N/A
AHU-16 | FF Common Corridor 1 | 332 | C.C.H | AHU_16_CCH | 11 | OK | AHU_16_CCH
AHU-17 | Lotion Packing Hall | 287 | C.C.H | AHU_17_CCH | 7 | MCB OFF | #N/A
AHU-19 | QC Micro Area Incubation | 327 | DX | AHU_19_DX | 11 | OK | AHU_19_DX
AHU-20 | QC Micro Testing Room | 328 | DX | AHU_20_DX | 11 | MCB OFF | #N/A
AHU-21 | Instrument Room -03 | 329 | DX | AHU_21_DX | 11 | OK | AHU_21_DX
AHU-23 | Instrument Room-02 | 291 | DX | AHU_23_DX | 7 | OK | AHU_23_DX
AHU-25 | Powder Manufacturing | 336 | C.C.H | AHU_25_CCH | 12 | OK | AHU_25_CCH
AHU-26 | Powder Filling | 337 | C.C.H | AHU_26_CCH | 12 | OK | AHU_26_CCH
AHU-29 | Liquid manufacturing Area FF | 263 | DX | AHU_29_DX | 1 | OK | AHU_29_DX
AHU-30 | Shampoo Manufacturing | 294 | DX | AHU_30_DXH | 7 | OK | AHU_30_DXH
AHU-31 | Shampoo Filling | 295 | DX.H | AHU_31_DXH | 7 | OK | AHU_31_DXH
AHU-32 | Shampoo Quarantine | 292 | DX | AHU_32_DX | 7 | OK | AHU_32_DX
AHU-33 | Ground Floor Corridor | 333 | C.C | AHU_33_CC | 12 | OK | AHU_33_CC
AHU-34 | Compression-04 | 262 | DX.D | AHU_34_DXD | 1 | OK | AHU_34_DXD
AHU-36 | Blending-01 | 260 | DX.H.D | AHU_36_DXHD | 1 | OK | AHU_36_DXHD
AHU-37 | Blending-02 | 282 | DX.H | AHU_37_DXH | 6 | OK | AHU_37_DXH
AHU-38 | Graduation-01 | 275 | C.C.H | AHU_38_CCH | 5 | OK | AHU_38_CCH
AHU-40 | Compression-02 | 277 | C.C.H | AHU_40_CCH | 5 | OK | AHU_40_CCH
AHU-42 | Granulation-02 | 256 | C.C.H.D | AHU_42_CCHD | 1 | OK | AHU_42_CCHD
AHU-43 | Granules Quarantine | 258 | C.C.D | AHU_43_CCD | 1 | OK | AHU_43_CCD
AHU-44 | Tablet Corridor | 281 | C.C | AHU_44_CC | 6 | OK | AHU_44_CC
AHU-46 | Tablet Packing Hall | 259 | C.C | AHU_46_CC | 1 | OK | AHU_46_CC
AHU-48 | Strip-01 | 300 | C.C.H.D | AHU_48_CCHD | 8 | OK | AHU_48_CCHD
AHU-51 | Tablet Quarantine | 283 | DX.H.D | AHU_51_DXHD | 6 | OK | AHU_51_DXHD
AHU-54 | Tablet Inspection | 261 | DX.H | AHU_54_DXH | 1 | OK | AHU_54_DXH
AHU-56 | RM control Sample | 272 | C.C | AHU_56_CC | 5 | OK | AHU_56_CC
AHU-57 | Primary PM Sampling | 302 | DX.H | AHU_57_DXH | 8 | MCB OFF | AHU_57_DXH
AHU-58 | Sugar Loading | 338 | Dx | AHU_58_DX | 12 | OK | AHU_58_DX
AHU-60 | FF Corridor-4 | 274 | C.C | AHU_60_CC | 5 | OK | AHU_60_CC
AHU-62 | Old Basement | 309 | C.C | AHU_62_CC | 9 | MCB OFF | AHU_62_CC
AHU-64 | Pri Packing and Foil Store | 334 | C.C | AHU_64_CC | 12 | MCB OFF | #N/A
AHU-78 | Wet Lab | 257 | C.C.H | AHU_78_CCH | 1 | OK | AHU_78_CCH
AHU-67 | QA Document Room | 273 | C.C | AHU_67_CC | 5 |  | AHU_67_CC
AHU-39 | Compression-01 | 276 | C.C.H | AHU_39_CCH | 5 |  | AHU_39_CCH
AHU-75 | S Dispensing | 308 | C.C.H | AHU_75_CCH | 9 |  | AHU_75_CCH
AHU-76 | Finished Goods Store | 312 | C.C.D | AHU_76_CCD | 9 |  | AHU_76_CCD
AHU-53 | FF Corridor-02 | 285 | DX | AHU_53_DX | 6 |  | AHU_53_DX
AHU-27 | Powder Quarantine Area | 340 | DX | AHU_27_DXH | 12 |  | AHU_27_DXH
AHU-41 | Compression-03 | 278 | C.C.D | AHU_41_CCD | 5 |  | #N/A
AHU-52 | Jar Filling | 284 | DX.H.D | AHU_52_DXHD | 6 |  | AHU_52_DXHD
AHU-63 | Change Room FF | 310 | C.C | AHU_63_CC | 9 |  | AHU_63_CC

## AHU Details
S.NO. | AHU NO. | AHU MODEL | AHU | CONTROLLER ID | AHU LOCATION | GROUP LOCATION | Gateway Location | Gateway | SIM Details |  | Channel
40 | AHU-42 | C.C.H.D | AHU_42_CCHD | 256 | Granulation -02 | Mazanine Floor SA | 1 |  | Airtel | VI
75 | AHU-78 | C.C.H | AHU_78_CCH | 257 | Wet lab | Engineering Office SA | 1 | 1 | 5754000236870 |  | 1
41 | AHU-43 | C.C.D | AHU_43_CCD | 258 | Granules Quarantine | Mazanine Floor SA | 1 | 2 | 5754000236853 | Energy Meter | 2
44 | AHU-46 | C.C | AHU_46_CC | 259 | Tablet Packing Hall | Deck Slab SA | 1 | 3 | 5754000236854 | Spare | 3
34 | AHU-36 | DX.H.D | AHU_36_DXHD | 260 | Blending -01 | Deck Slab SA | 1 | 4 | 5754000236867 | 5755000589554 | 5
52 | AHU-54 | DX.H | AHU_54_DXH | 261 | Tablet Inspection | Deck Slab SA | 1 | 5 | 5754000236862 | 5755000589571 | 7
32 | AHU-34 | DX.D | AHU_34_DXD | 262 | Compression -04 | Deck Slab SA | 1 | 6 | 5754000236863 | 5755000589566 | 9
27 | AHU-29 | DX | AHU_29_DX | 263 | Liquid Mfg. area FF | LT Panel To Boiler House SA | 1 | 7 | 5754000236861 | 5755000589562 | 11
5 | AHU-05 | C.C | AHU_05_CC | 264 | Ointment Manufacturing-1 | QC conference SA | 4 | 8 | 5754000236852 | 5755000635948 | 13
6 | AHU-06 | C.C | AHU_06_CC | 265 | Ointment Manufacturing-2 | QC conference SA | 4 | 9 | 5754000236864 | 5755000589559 | 15
7 | AHU-07 | C.C | AHU_07_CC | 266 | Ointment Manufacturing-3 | QC conference SA | 4 | 10 | 5754000236892 | 5755000589565 | 17
8 | AHU-08 | C.C | AHU_08_CC | 267 | Ointment Filling-1 | Ground Floor OHC SA | 4 | 11 | 5754000236868 | 5755000589558 | 19
10 | AHU-10 | C.C | AHU_10_CC | 268 | Ointment Filling 3 | Ground Floor OHC SA | 4 | 12 | 5754000236866 | 5755000635925 | 21
11 | AHU-11 | C.C | AHU_11_CC | 269 | Ointment Corridor | Ground Floor OHC SA | 4
9 | AHU-09 | DX | AHU_09_DX | 270 | Ointment Filling 2 | Ground Floor OHC SA | 4
12 | AHU-12 | DX | AHU_12_DX | 271 | Ointment Quarantine | Ground Floor OHC SA | 4
54 | AHU-56 | C.C | AHU_56_CC | 272 | KM Control Sample | Deck Slab SA | 5
64 | AHU-67 | C.C | AHU_67_CC | 273 | QA Document room | Deck Slab SA | 5
58 | AHU-60 | C.C | AHU_60_CC | 274 | FF Corridor-4 | Mazanine Floor SA | 5
36 | AHU-38 | C.C.H | AHU_38_CCH | 275 | Granuillation -01 | Mazanine Floor SA | 5
37 | AHU-39 | C.C.H | AHU_39_CCH | 276 | Compression -01 | Mazanine Floor SA | 5
38 | AHU-40 | C.C.H | AHU_40_CCH | 277 | Compression -02 | Mazanine Floor SA | 5
39 | AHU-41 | C.C.D | AHU_41_CCD | 278 | Compression -03 | Mazanine Floor SA | 5
48 | AHU-50 | C.C.D | AHU_50_CCD | 279 | Capsule Filling | Deck Slab SA | 6
33 | AHU-35 | C.C.H | AHU_35_CCH | 280 | Coating AHU | Deck Slab SA | 6
42 | AHU-44 | C.C | AHU_44_CC | 281 | Tablet Corridor | Deck Slab SA | 6
35 | AHU-37 | DX.H | AHU_37_DXH | 282 | Blending -02 | Deck Slab SA | 6
49 | AHU-51 | DX.HD | AHU_51_DXHD | 283 | Tablet Quarantine | Deck Slab SA | 6
50 | AHU-52 | DX.H.D | AHU_52_DXHD | 284 | Jar Filling | Deck Slab SA | 6
51 | AHU-53 | DX | AHU_53_DX | 285 | FF Corridor-2 | Deck Slab SA | 6
15 | AHU-15 | C.C.H | AHU_15_CCH | 286 | Lotion Filling | Engineering Office SA | 7
17 | AHU-17 | C.C.H | AHU_17_CCH | 287 | Lotion Packina Hall | Engineering Office SA | 7
43 | AHU-45 | C.C.H | AHU_45_CCH | 288 | Blister -02 | Engineering Office SA | 7
45 | AHU-47 | C.C.H | AHU_47_CCH | 289 | Blister - 01 | Engineering Office SA | 7
13 | AHU-13 | DX | AHU_13_DX | 290 | Ointment Clean Corridor | Engineering Office SA | 7
22 | AHU-23 | DX | AHU_23_DX | 291 | Instrument Room II | Engineering Office SA | 7
30 | AHU-32 | DX | AHU_32_DX | 292 | Shampoo Quarantine | Engineering Office SA | 7
26 | AHU-28 | DX | AHU_28_DX | 293 | Powder Packing Area | Engineering Office SA | 7
28 | AHU-30 | DX | AHU_30_DX | 294 | Shampoo Mfg. | Engineering Office SA | 7
29 | AHU-31 | DX.H | AHU_31_DXH | 295 | Shampoo Filling | Engineering Office SA | 7
74 | AHU-77 | C.C.H | AHU_77_CCH | 296 | Instrument room -I | Engineering Office SA | 8
67 | AHU-70 | C.C.H | AHU_70_CCH | 297 | S FILLING 1 | SA Behind Canteen | 8
65 | AHU-68 | C.C.H | AHU_68_CCH | 298 | S PACKING | SA Behind Canteen | 8
66 | AHU-69 | C.C.H | AHU_69_CCH | 299 | S FILLING 2 | SA Behind Canteen | 8
46 | AHU-48 | C.C.H.D | AHU_48_CCHD | 300 | Strip -01 | Engineering Office SA | 8
53 | AHU-55 | DX | AHU_55_DX | 301 | FF Corridor-3 | Engineering Office SA | 8
55 | AHU-57 | DXH | AHU_57_DXH | 302 | Primary PM Sampling | Engineering Office SA | 8
76 | EN/AHU-22 | DX | EN/AHU_22_DX | 303 | Ground Floor | Ground Floor SA Near DG | 8
47 | AHU-49 | DX.H | AHU_49_DXH | 304 | Strip -02 | Engineering Office SA | 8
69 | AHU-72 | C.C.H | AHU_72_CCH | 305 | S CLEAN CORRIDOR | QA terrace SA | 9
70 | AHU-73 | C.C.H | AHU_73_CCH | 306 | S MANUFACTURING 2 | QA terrace SA | 9
71 | AHU-74 | C.C.H | AHU_74_CCH | 307 | S MANUFACTURING 1 | QA terrace SA | 9
72 | AHU-75 | C.C.H | AHU_75_CCH | 308 | S DISPENSING | QA terrace SA | 9
59 | AHU-62 | C.C | AHU_62_CC | 309 | Old Basement | QA terrace SA | 9
60 | AHU-63 | C.C | AHU_63_CC | 310 | Change Room FF | QA terrace SA | 9
62 | AHU-65 | C.C | AHU_65_CC | 311 | Finished Pr Reserve Sample | QA terrace SA | 9
73 | AHU-76 | C.C.D | AHU_76_CCD | 312 | Finished Goods Store | QA terrace SA | 9
68 | AHU-71 | DX.H | AHU_71_DXH | 313 | S QUARANTINE | QA terrace SA | 9
77 | EN/AHU-32 | DX | EN/AHU_32_DX | 314 | New Basement Store | QA terrace SA | 10
78 | EN/AHU-35 | DX | EN/AHU_35_DX | 315 | Dispensing-1 | QA terrace SA | 10
79 | EN/AHU-36 | DX | EN/AHU_36_DX | 316 | Dispensing-2 | QA terrace SA | 10
81 | EN/AHU-38 | DX | EN/AHU_38_DX | 317 | Dispensing-4 | QA terrace SA | 10
82 | EN/AHU-39 | DX | EN/AHU_39_DX | 318 | Liquid solvent Dispensing | QA terrace SA | 10
84 | EN/AHU-43 | DX | EN/AHU_43_DX | 319 | RM Receipt | QA terrace SA | 10
85 | EN/AHU-61 | DX | EN/AHU_61_DX | 320 | RM Wash Area | QA terrace SA | 10
80 | EN/AHU-37 | DX.H | EN/AHU_37_DXH | 321 | Dispensing -3 | QA terrace SA | 10
83 | EN/AHU-40 | DX | EN/AHU_40_DX | 322 | Sampling | QA terrace SA | 10
1 | AHU-01 | DX | AHU_01_DX | 323 | Liquid Manufacturing | Boiler House SA | 11
2 | AHU-02 | DX | AHU_02_DX | 324 | Liquid Filling Area | Boiler House SA | 11
3 | AHU-03 | DX | AHU_03_DX | 325 | Bottle Loading Area | Boiler House SA | 11
18 | AHU-18 | DX | AHU_18_DX | 326 | Lotion Quarantine | LT Panel To Boiler House SA | 11
19 | AHU-19 | DX | AHU_19_DX | 327 | QC Micro Area Incubation | LT Panel To Boiler House SA | 11
20 | AHU-20 | DX | AHU_20_DX | 328 | QC Micro Testing Room | LT Panel To Boiler House SA | 11
21 | AHU-21 | DX | AHU_21_DX | 329 | Instrument Room - III | LT Panel To Boiler House SA | 11
4 | AHU-04 | C.C | AHU_04_CC | 330 | Bottle & PPM Store | Boiler House SA | 11
14 | AHU-14 | C.C.H | AHU_14_CCH | 331 | Lotion Manufacturing | LT Panel To Boiler House SA | 11
16 | AHU-16 | C.C.H | AHU_16_CCH | 332 | FF Common Corridor-I | LT Panel To Boiler House SA | 11
31 | AHU-33 | C.C | AHU_33_CC | 333 | Ground Floor Corridor | LT Panel To Boiler House SA | 12
61 | AHU-64 | C.C | AHU_64_CC | 334 | Pri packing and foil store | LT Panel To Boiler House SA | 12
57 | AHU-59 | C.C | AHU_59_CC | 335 | Dispensed Material Hold | Near Boiler House SA | 12
23 | AHU-25 | C.C.H | AHU_25_CCH | 336 | Powder Mfg. | LT Panel To Boiler House SA | 12
24 | AHU-26 | C.C.H | AHU_26_CCH | 337 | Powder Filling | LT Panel To Boiler House SA | 12
56 | AHU-58 | DX | AHU_58_DX | 338 | Sugar Loading | LT Panel To Boiler House SA | 12
63 | AHU-66 | DX | AHU_66_DX | 339 | GF CHANGE ROOM | Near Boiler House SA | 12
25 | AHU-27 | DX.H | AHU_27_DXH | 340 | Powder Quarantine Area | LT Panel To Boiler House SA | 12